CERN/LCB 2000-001

Models of Networked Analysis at Regional Centres for LHC Experiments

(MONARC)

PHASE 2 REPORT

24th March 2000

MONARC Members

M. Aderholz (MPI), K. Amako (KEK), E. Auge (L.A.L/Orsay), G. Bagliesi (Pisa/INFN), L. Barone (Roma1/INFN), G. Battistoni (Milano/INFN), M. Bernardi (CINECA), M. Boschini (CILEA), A. Brunengo (Genova/INFN) J.J. Bunn (Caltech/CERN), J. Butler (FNAL), M. Campanella (Milano/INFN), P. Capiluppi (Bologna/INFN), F, Carminati (CERN), M. D'Amato (Bari/INFN), M. Dameri (Genova/INFN), A. di Mattia (Roma1/INFN), A. Dorokhov (CERN), G. Erbacci (CINECA), U. Gasparini (Padova/INFN), F. Gagliardi (CERN), I. Gaines (FNAL), P. Galvez (Caltech), A. Ghiselli (CNAF/INFN), J. Gordon (RAL), C. Grandi (Bologna/INFN), F. Harris (Oxford), K. Holtman (CERN), V. Karimäki (Helsinki), Y. Karita (KEK), J. Klem (Helsinki), I. Legrand (Caltech/CERN), M. Leltchouk (Columbia), D. Linglin (IN2P3/Lyon Computing Centre), P. Lubrano (Perugia/INFN), L. Luminari (Roma1/INFN), A. Maslennicov (CASPUR), A. Mattasoglio (CILEA), M. Michelotto (Padova/INFN), I. McArthur (Oxford), Y. Morita (KEK), A. Nazarenko (Tufts), H. Newman (Caltech), V. O'Dell (FNAL), S.W. O'Neale (Birmingham/CERN), B. Osculati (Genova/INFN), M. Pepe (Perugia/INFN), L. Perini (Milano/INFN), J. Pinfold (Alberta), R. Pordes (FNAL), F. Prelz (Milano/INFN), A. Putzer (Heidelberg), S. Resconi (Milano/INFN and CILEA), L. Robertson (CERN), S. Rolli (Tufts), T. Sasaki (KEK), H. Sato (KEK), L. Servoli (Perugia/INFN), R.D. Schaffer (Orsay), T. Schalk (BaBar), M. Sgaravatto (Padova/INFN), J. Shiers (CERN), L. Silvestris (Bari/INFN), G.P. Siroli (Bologna/INFN), K. Sliwa (Tufts), T. Smith (CERN), R. Somigliana (Tufts), C. Stanescu (Roma3), H. Stockinger (CERN), D. Ugolotti (Bologna/INFN), E. Valente (INFN), C. Vistoli (CNAF/INFN), I. Willers (CERN), 
R. Wilkinson (Caltech), D.O. Williams (CERN).

Executive Summary

Since Autumn 1998, the MONARC project [1] has provided key information on the design and operation of the worldwide-distributed Computing Models for the LHC experiments.  This document summarises the status of MONARC and the results of the project’s first two Phases.  A third Phase, summarised at the end of this report, is now underway.

The LHC experiments have envisaged Computing Models (CM) involving many hundreds of physicists engaged in analysis at institutions around the world.  These Models encompass a complex set of wide-area, regional and local-area networks, a heterogeneous set of compute- and data-servers, and a yet-to-be determined set of priorities for group-oriented and individuals' demands for remote data and compute resources.  Each of the experiments foresees storing and partially distributing data volumes of Petabytes per year, and to have to provide rapid access to the data over regional, continental and transoceanic networks.  Distributed systems of this size and complexity do not exist yet, although systems of a similar size to those foreseen for the LHC experiments are predicted to come into operation by around 2005.

MONARC has successfully met its major milestones, and has fulfilled its basic goals, including:

- identifying first-round baseline Computing Models that could provide viable (and cost-effective) solutions to meet the simulation, reconstruction and analysis needs of the LHC experiments

- providing a powerful (CPU and time efficient) simulation toolset that will enable further studies and optimisation of the Models,

- providing guidelines for the configuration and services of Regional Centres, and

- providing an effective forum where representatives of actual and candidate Regional Centres may meet and develop common strategies for LHC Computing.

The MONARC work, and discussions between MONARC and (actual and candidate) Regional Centre organisations, has led to the concept of a Regional Centre hierarchy as the best candidate for a cost-effective and efficient means of facilitating access to the data and processing resources.  The hierarchical layout is also well-adapted to meet the local needs for support in developing and running the software, and carrying out the data analysis with an emphasis on the responsibilities and physics interests of the groups in each world region.  In the Summer and Fall of 1999, it was realised that Computational Grid [2] technology, extended to the data-intensive tasks and worldwide scale appropriate to the LHC, could be used to develop the workflow and resource management tools needed to effectively manage such a worldwide-distributed “Data Grid” system.

The earlier progress of MONARC is documented in its Mid-Project Progress Report [3] (June 1999), and the talks by H. Newman and I. Legrand at the LCB Computing Workshop in Marseilles [4,5] (October 1999).  The MONARC Technical Notes [6] cover the specifications for possible CERN and regional centre site architectures, regional centre facilities and services, and the testbed studies used to validate and help develop the MONARC Distributed System Simulation, and to determine the key parameters in the candidate baseline Computing Models.  A series of papers on: the structure and operational experience with the Simulation system (using the results of the Analysis Process Working Group); the work of the Architectures Working Group; and the testbed studies and simulation validation in local and wide-area network environments, have been submitted to the CHEP 2000 conference [7,8,9,10,11,12].

Chapter 1: Introduction

MONARC has fulfilled the basic project goals and met the schedule set forth in its Project Execution Plan (PEP) [13], which was approved by the LHC Computing Board in October 1998 for the period up to the end of 1999.  The key features that have been instrumental in the success of the project are:

- The broad-based nature of the collaboration, including substantial representation from ATLAS, CMS and LHCb (Phase 1 and 2) and ALICE (in Phase3), and representation from several countries in Europe and Asia as well as the US, thus reflecting a representative range of local conditions and estimated financial means.

- The choice of a process-oriented discrete event simulation approach to the modelling problem, allowing us to simulate (a) a complex set of networked computing systems (CERN, Tier-1 and Tier-2 regional centres), (b) the analysis process, composed of a dynamic workload of reconstruction and analysis jobs submitted to job schedulers and then to multi-tasking compute and data servers at each of the sites, and (c) the behaviour of key elements of the system, such as distributed database servers and the networks.

- The design of the MONARC simulation package which enabled representation of the systems at an appropriately high level of abstraction, by using the programming features and multi-threaded facilities of Java2, and which resulting in a powerful CPU and memory efficient simulation toolset with a complete and intuitive graphical user interface (see Chapter 2).  This package supported simulation runs of relatively complex systems in a matter of minutes on a single workstation, and the analysis of the results immediately afterward.

- The organisation of the Project into four technical working groups:

- The Architecture Working Group studying the site and network architectures, operational modes and services to be provided by Regional Centres, the data volumes to be stored and analysed, and the associated computing, data handling and infrastructure requirements.  This group, working together with CERN/IT has produced information on baseline Models specifying the required LHC computing requirements, and candidate architectures for computing facilities at CERN and at Tier-1 Regional Centres.

- The Analysis Process Working Group studying the data analysis workload, job mix and profiles, and the time to complete the computing jobs and data transport processes that make up the distributed data analysis for an LHC experiment.  This group and the Simulation WG have worked closely to verify the ability of the specified resources to handle the workload, modelling several representative cases (see Chapter 5).

- The Testbeds Working Group that has set up small and larger prototypical systems at CERN, at several INFN sites, in Japan and the US with a standard software base and the Objectivity ODBMS.  These systems have been used to characterise the performance parameters for key components of the Computing Models, as represented in the simulations, and to identify bottlenecks that could limit throughput for analysis jobs.

- The Simulation Working Group that defined the methodology, and designed, built and continued to develop the simulation system as a toolset for users, and which has worked with the other working groups to study and analyse the results.  This group also has worked with the Testbeds Working Group to validate the technical correctness and the overall accuracy of the simulation for known computer system configurations running under controlled conditions.  The validation process has been an essential step, allowing us to scale up to the simulation of complex distributed systems that are representative of those we expect to use at the start of LHC operation.

- The incorporation of a Regional Centres Committee, associated to the Project’s Steering Group, that has provided an effective forum for discussions and general consensus on the capacity, scope of services to be provided by the Centres, and the approximate costs.  These discussions are particularly important as the resource, technical and operational requirements are becoming better-defined, in association with funding proposals and reviews in several countries among the MONARC collaborators, and the recently commissioned CERN Review of LHC Computing.

Chapter 2 of this report summarises the design, implementation and main features of the MONARC Simulation System, and its application to representing a set of Regional Centres interworking with the central facility at CERN.  Chapter 3 summarises the testbed systems, their use to validate the simulation using prototypical configurations where data is accessed locally, over local and wide area networks, and the measurements of resource utilisation during key operations including data access via the ODBMS.

Chapter 4 shows the results of the Architecture Working Group that led to the basic assumptions used in the Baseline Models; the characteristics of the Regional Centres are described, and the motivations for a hierarchical organisation of distributed computing facilities are reviewed.  Chapter 5, describes the Analysis Process as applied to the case of ATLAS or CMS foreseen for 2005, the Data Model that defines the data forms (RAW, ESD, AOD, TAG), data volumes per event, and distribution among the Centres, following these two experiments’ Computing Technical Proposals. This section also briefly covers examples illustrating the response of appropriately configured Tier-1 and Tier-2 centres to the foreseen computing load, as well as a scenario for workload sharing of the processing of real data and Monte Carlo data among the Tiers.  Conclusions relevant to Phases 1 and 2 of MONARC are in Chapter 6, while Chapter 7 includes a forward look to Phase 3 of the project.

Chapter 2: The MONARC Simulation Tool

The simulation program [14] has been designed as a tool to study the optimisation of very large distributed computing systems.  It is not intended to be a detailed simulator for basic components such as operating systems, data base servers or routers.  Instead, it relies on realistic mathematical models and measured parameters obtained from testbed systems, for all the basic components.  It aims to correctly describe and predict the performance and limitations of large distributed systems with complex interactions.  At the same time it provides a flexible framework for evaluating different strategies for the design of the middle layer software, providing dynamic load balancing and optimal resource utilisation.

2.1 Design of the Tool

The simulation and modelling task for MONARC requires that both simple and complex data processing programs, running on large scale distributed systems, interacting and exchanging very large (or small) amounts of data be described.

An Object Oriented design, which allows an easy and direct mapping of the logical components into the simulation program and provides the interaction mechanism, offers the best solution for modelling such large-scale systems and also copes with systems which may scale and change dynamically.

A process-oriented approach for discrete event simulation is well suited to describing concurrent running programs, as well as all the stochastic arrival patterns that characterise how such systems are used.  Threaded objects, or “Active Objects” (having an execution thread, program counter, stack, mutual exclusion mechanism...), offer great flexibility in simulating the complex behaviour of distributed data processing programs.  This approach offers a natural way of describing complex running programs that are data dependent and which concurrently compete for shared resources.

The MONARC simulation program is built with Java(TM) technology.  The Java Development Kit provides tools that are amenable to the task of developing a flexible process oriented simulation.  Java has built-in multi-thread support for concurrent processing, which can be used for simulation purposes by providing a dedicated scheduling mechanism.  Java also offers good support for distributed objects (RMI and CORBA) architectures and for graphics.  The flexible graphics tools, and facilities to analyse data interactively, are essential in any simulation project.

The tool’s “simulation engine” provides a dedicated scheduling mechanism that is based on semaphores for the “Active Objects”.  It also provides a mechanism to dynamically add or remove objects from the system.  Handling dynamically loadable modules is essential to describe complex configurations which may change or evolve in time.  The “Active Object” is the basic class that must be inherited by all the entities in the simulation, which require a time dependent behaviour.  It provides the methods for synchronous and asynchronous communications with other objects, and the mechanism to communicate with the simulation engine so that it can be interrupted, suspended and resumed during execution.  Objects which extend this basic class may implement any specific time dependent behaviour, which can be a function of messages or data received, its previous state(s), and its access to certain shared resources.  In this way it is possible to implement highly non-linear processes such as caching and swapping.  It also offers a means of describing the stochastic input pattern for jobs and activities in the system.

As the number of jobs necessary to be simulated in such applications may be huge, a dedicated structure that allows job recycling was implemented to improve the simulation efficiency.  The interrupt mechanism, implemented as an atomic (synchronised) self addressed event, for the “Active Objects” offers an effective way to simulate discrete event processes assuming a “continuous” flow in time between events which modify parts of the system.

Shared resources, like CPU or I/O links, are represented in the simulation as normal objects, but access to their different update methods needs to be made, synchronised with the external “running” entities.  There is a mutual exclusion mechanism when accessing unique atomic parts that avoids interruption: this guarantees the correct representation.

A complex Graphical User Interface (GUI) to the simulation program allows the user to change parameters dynamically, to load user-defined modules with specific time response functions, and to monitor and analyse the simulation results.  It provides a powerful development tool for evaluating and designing large scale distributed systems.

2.2 Components of the Design

The simulation program requires the abstraction of all components from the real system and their time dependent interaction.  This abstracted model has to be equivalent to the original system in the key respects that concern us.  The simulation engine is designed to be generic for any distributed system.  However, there are certain HEP-specific system components that are specially modelled to make the tool useful to the physics community.  The major components are described below.

Data Model. The current data model follows the Objectivity/DB [15] architecture and the basic object data design used in HEP.  This model is an efficient way to describe very large database systems with a huge number of stored objects.

The database server component simulates the client-server mechanism used to access objects from a database.  It implements response time functions based on data parameters (page size, object size, access is from a new container, etc.), and hardware load (how many other requests are active at the same time).  In this model it is also assumed that the database servers control the data transfers from/to the mass storage system.  Different policies for storage management may be used in the simulation.  The model is designed to handle a very large number of objects whilst at the same time providing an automatic storage management scheme.  It allows the emulation of different clustering schemes in the data for different types of data access patterns, and the simulation of ordered data access when following the associations between the data objects, even if the objects reside in databases located in different database servers.

Multitasking Data Processing Model.  This is based on sharing resources such as CPU, memory and I/O between concurrently running tasks by scheduling their use for very short time intervals.  The model is based on an “interrupt” driven mechanism implemented in the simulation engine.  It calls the interrupt method implemented in the “Active Objects”, which is the base class for all “running entities”.  The way it works is shown schematically in Figure 2.1.

Referring to this Figure, when a first job (Task1) starts, the time it takes is evaluated (original TF1), and this “Active” object enters into a wait state for this amount of time unless it is interrupted.  If a new job (Task2) starts on the same hardware, it will cause an interrupt to the first task.  Both tasks will share the same CPU power and the time to complete for each of them is re-computed assuming that they share the CPU equally or based on a running priority scheme (new TF1 and original TF2).  Then both jobs will enter into a wait state and listens to other interrupts.  When the first job (Task1) is finished, it creates another interrupt to re-distribute the resources for the remaining jobs.  This model assumes that resource sharing is maintained between any discrete events in the simulation time (e.g. new job submission, job completion). (On real machines, this is accomplished discretely but with very small time intervals.)

Network Model. Accurate and efficient simulation of networking is also a major requirement for the MONARC simulation project.  The simulation program had to offer the possibility of simulating data traffic for different protocols on both LANs and WANs.  This had to be achieved without precise knowledge of the network topology. We note that it is practically impossible to simulate the network on a packet-by-packet basis for large amounts of data.

User-defined time dependent functions are used to evaluate the effective bandwidth.  The approach used to simulate the data traffic is based on an “interrupt” scheme similar to the multitasking model described above.  When a message transfer starts between two end points in the network, the time to completion is calculated. This transfer time is calculated using the minimum speed of all the links between the end points, and it may be a function of the network protocol being used.  The time to complete is used to generate a wait statement that can subsequently be interrupted in the simulation.  If a new message is initiated, an interrupt is generated for the LAN/WAN object.  The speed for each transfer affected by the new one is re-calculated, assuming that the transfers are running in parallel and share the bandwidth (with weights depending on the protocol).  With this new speed the time to completion for all the messages affected is re-evaluated and inserted into the priority queue for future events.  This approach requires an estimate of the data transfer speed for each component and the round trip time for each network.  For a long distance connection an “effective speed” between two points has to be used.  This value can be fully time dependent to emulate “outside” traffic sharing the same lines.

This approach for data transfer provides an effective way of describing many large and small data transfers occurring in parallel on the same network.  This model cannot describe speed variation in the traffic during one transfer if no other transfer starts or finishes.  This is a consequence of the fact that we have only discrete events in time.  However, by using smaller packages for data transfer or artificially generating additional interrupts for LAN/WAN objects, the time interval for which the network speed is considered constant can be reduced.  As in the case of multitasking data processing model, this model assumes that the data transfer between time events is done in a continuous way utilising a certain part of the available bandwidth.

Arrival Patterns. A flexible mechanism of defining the stochastic process of submitting jobs is necessary. This is done using the “dynamic loadable modules” feature in Java, which supports the ability to include (threaded) objects into running code.  These objects are used to describe the behaviour of a “User” or a “Group of Users”.  It should be able to describe both batch and interactive sessions, and also to use any time dependent distribution describing how jobs are submitted.  An “Activity” object is the base class for all activity processes to estimate the time dependent job arrival patterns and correlation.

These Activity objects are in fact the job injectors into the simulation frame.  The user can provide very simple sections of Java code, to override the “RUN” method of the “Activity” class, and provide the time dependent profile of different job submission activities, as schematically shown in Fig 2.2.  Any number of “Activity” objects may be dynamically loaded via the GUI allowing them to be studied independently or all together.

2.3 Regional Centre Model

The “Regional Centre” is a complex, composite object containing a number of data servers and processing nodes, all connected to a LAN.  Optionally, it may contain a Mass Storage unit and can be connected to other Regional Centres.  Any regional centre can dynamically instantiate a set of “Users” or “Activity” objects, which are used to generate data processing jobs based on different scenarios.  Inside a Regional Centre different job scheduling policies may be used to distribute jobs to processing nodes.

Fig. 2-3  Schematic view of a regional Centre Model.

2.4 The Graphical User Interface and Auxiliary Tools

An adequate set of GUIs to define different input scenarios, and to analyse the results, is essential for the simulation tools.  The aim in designing these GUIs was to provide a simple but flexible way of defining the parameters for simulations and the presentation of results.

The number of regional centres considered can be changed through the main window of the simulation program.  The “Global Parameters” frame allows the (mean) values and their statistical distributions for quantities which are common in all Regional Centres to be changed.  The hardware cost estimates for the components of the system can also be obtained.  For each Regional Centre in the simulation, the user may interactively select the parameters which are graphically presented (CPU usage, memory load, load on the network, efficiency, Database servers' load etc).  Basic mathematical tools are available to examine all simulation results: computation of integrated values, mean values and integrated mean values.

To publish or store the simulation results and all the relevant files used in the simulation, an automatic procedure has been developed.  This allows publishing locally, or to a MONARC Web server.  The Web Page thus offers a repository for the MONARC Collaboration [16].  There can be found the configuration files, the Java source code used to certain modules and the results (tables and graphic output) for any given simulation runs.  The aim of this facility is to provide an easy way to share ideas and results.  The publishing procedure is implemented in Java using the Remote Method Invocation mechanism.  The schematic view of how this works is shown in Fig. 2-4.  A users guide is in preparation.

Fig. 2-4  Publishing the simulation results into the web pages

Chapter 3: Testbed measurements and Validation of the Simulations

3.1 Introduction

Distributed applications on wide area networks give rise to stringent performance demands that are not satisfied by any existing data, CPU and network management/monitoring infrastructure.  The aim of the testbeds has been to study the efficiency and behaviour as a function of both the network characteristics, and the parameters of an ODBMS based application (Objectivity/DB) for distributed analysis of experimental data.  The dynamic usage of system and network resources at host and application level has been measured in different client/server configurations, on several LAN and WAN layouts.  Measurement evaluation has identified system bottlenecks and resource limitations.  In addition, efficient working conditions in the different scenarios have been defined, and some critical behaviour has been observed when moving away from the optimal working conditions.  The future improvement of the monitoring tools, providing online visualisation of resource utilisation, has been identified as important, not only for troubleshooting, but also for the development of authorisation policy and workload management in general.

The evaluation of a computer and network system involves the iteration of measurement, modelling of the system behaviour, development of the simulation tools and then validation [17].  With sufficient iterations of the above cycle, one can predict the behaviour of the system for various types of loads with sufficient accuracy.  Therefore the validation of the MONARC Simulation tools should be closely related to the required "level of detail" as the project aims for improved accuracy with greater detail in the system modelling.

In particular, sharing of the common resources such as CPU, storage I/O bandwidth, local and wide-area network bandwidth, queuing mechanisms, and the performance of the distributed ODBMS systems are shown to be the key parameters to estimate the overall performance of the regional centres models.

3.2 Testbed Measurements and Comparison with Simulation

Several testbed environments have been set up by the Testbeds Working Group at CERN, KEK, INFN, Caltech, and SLAC.  These sites are connected with various types of wide area networks, such as dedicated satellite links, ATM permanent virtual circuits and QoS services.  Example HEP analysis applications using Objectivity/DB have been developed and tested in these environments.

To understand the behaviour of an Objectivity AMS server as an example of distributed ODBMS, a pair of SUN Solaris 2.6 machines have been used at CERN [18].  Monte Carlo simulated ATLAS raw data was converted into Objectivity/DB database format.  A simple C++ program was written to read every object in the event using a database iterator.  Multiple jobs were run on the system with three configurations: (1) Local file database access on one machine (machine A), (2) Local file database access on another machine (machine C) and (3) a pair of machines acting as client and server of Objectivity/DB AMS.  The job execution time and the CPU utilisation were measured as a function of the number of multiple concurrent jobs.

The profile of the jobs, such as CPU cycles per event, were deduced from two machines with different CPU power and disk I/O speed.  The network efficiency of the AMS protocol was analysed at the packet level [10], and the effective throughput of the network was modelled into the simulation program.  The simulation results reproduce the testbed measurements very well for the concurrent running of jobs as shown in Fig. 3-1 [11].

The same set of job profile parameters qualitatively reproduces the distribution of job execution time, although the width of the distribution does not match quantitatively [Fig. 3-2].  The shape of this distribution can be explained for concurrently running jobs, which are competing for the same resources.  The difference of the width may come from the simple modelling of the context switch.  Further investigation is necessary to simulate the behaviour of the system in more detail.

Fig. 3-2 Measured and simulated job execution time competing for the same resource

Another set of measurements was performed on a QoS network using various link speeds between the AMS server and clients [19].  The data model used in the measurements was a set of tag and event data of various sizes.  The job profile parameters were extracted from the single job configuration and the behaviour of the concurrent job execution was reproduced with the simulation program [5].

Fig. 3-3 Average execution time of concurrent number of jobs for different network configurations
(a) 1000BaseT, (b) 10BaseT, (c) 2Mbps WAN

3.3 Monitoring of Resources and Utilisation: Results and Evaluation

The performance of a distributed analysis of the experimental data is affected by the network for several reasons:

- Overhead due to communication protocols.

- Network throughput fluctuations which affect TCP flow control parameters.

- Application protocols: how the client/server exchange data, and the application behaviour in case of network load and congestion.

- Network speed and the system’s ability to use it.

- End-to-end delay and the relationship with link speed and throughput.

Tests were performed based on several client/server configurations over different LAN and WAN configurations, with network speeds ranging from 2 Mbps to 1000 Mbps.  Moreover, some tests have been performed in WANs supporting QoS/Differentiated Services. The test results have been compared and evaluated.

The most important specific objectives have been:

- Check Objectivity AMS behaviour and performance.

- Stress test by running several analysis jobs accessing the database, and measure the performance.

- Locate system bottlenecks.

- Understand network traffic characteristics and profiles.

The general test scenario is quite simple regarding the database characteristics and structure.  A fast simulation program developed by the ATLAS collaboration, the Atlfast++ program, is used to populate an Objectivity database following the Tag/Event data model proposed by the LHC++ project.  There is one single container per event and no associations in the database.

Tests have been made under many working conditions [19] and the most interesting results have been selected and summarised [9] in the following table, which shows Maximum CPU utilisation of client and server, together with the corresponding number of running jobs versus network speed.

| Network speed | CLIENT | SERVER |
| --- | --- | --- |
|  | Max CPU use | Number of jobs running | Max CPU use | Number of jobs running |
| 1000 Mbps | 100% | (5 | 100% | (50 |
| 100 Mbps | 60% | Up to 30 | 100% | (10 |
| 10 Mbps | 80% | (20 | 30% | (60 |
| 2 Mbps (PPP ATM WAN) | 5% | Up to 20 | 10% | Up to 20 |

These results may be summarised as follows:

- In the 1000 Mbps LAN setup, where both the client and the server machines are SUN UltraSparc5 (~12 SPECint95), the Client CPU is the bottleneck and the network utilisation remains very low.

- In the 100 Mbps LAN setup, where both machines are SunE450 with 4 CPUs (total power ~72 SPECint95), the server machine becomes the bottleneck because the Objectivity 5.1 AMS server, being single threaded, uses only one CPU at a time while client jobs run on all the processors at the same time.

- In the 10 Mbps LAN case, the critical resource is the network bandwidth which is completely used.

- For 2 Mbps ATM PVC with PPP protocol encapsulation, the available bandwidth is so low that only a small fraction of the available computing power is used.

Further systematic investigations with a multi-threaded release of Objectivity (v. 5.2) and with more powerful client and server machines are necessary.

It is interesting to note that, regarding the single job execution, the elapsed time of the job decreases proportionally as the speed of network increases from 2 Mbps to 1000 Mbps [9].

In another set of measurements, the behaviour of the Objectivity AMS protocol has been observed at the TCP/IP packet-level [10].  In the inter-continental network links such as US-CERN or CERN-Japan surface and satellite networks, the round trip time is typically several hundreds of milliseconds.  In the current implementation of Objectivity AMS (versions 5.1 and 5.2), the AMS protocol hand shakes at the application layer when reading data from the AMS server.  The size of the hand shake message is fixed to the page size (maximum 64KB).  As a result, the network utilisation efficiency of single read transaction is very low over inter-continental network links.  To make an efficient network transfer of database files, one currently available option is to copy the original database files from the original federation, ship them to remote sites by using FTP or other efficient methods, and import the files into the remote federations.  Further efforts towards convincing Objectivity to implement a better AMS protocol are necessary.

The overall evaluations of the results are:

- The Objectivity implementation is demanding on resources, since even simple Objectivity jobs use a lot of CPU [20].  For example a small number of analysis jobs (around 5), reading data from the Objectivity Data Base Server and connected via a 100 Mbps LAN, use 60% of a powerful SUN multiprocessor system (72 SPECint95).

- The system was well behaved with a number of connections on the server up to 30 concurrent jobs.  To support more concurrent jobs with high speed connections, as is foreseen for the real production environments of the experiments, further investigation, performance tuning, and resource evaluation are necessary.

- The actual implementation of distributed applications such as Objectivity AMS are not well designed for the inter-continental, high speed and large latency networks.  It is important, sometimes critical, to monitor and test the behaviour of the various possible combinations of distributed applications in real network environments.

For further studies we will concentrate on scenarios in which the elapsed wall clock time is less then 10 times the wall clock time of a single job.  On the basis of the measured parameters, such a scenario should be based on links with a minimum speed of 8 Mbps between client and server.  With Atlfast++, no more than 15 to 20 client jobs should run concurrently on a processor, and servers should deal with requests of 30 concurrent client jobs per active processor as a maximum.  A general observation is that global system performance degrades rapidly on moving away from the optimal condition.  Application monitoring, providing online visualisation of all the status and performance parameters, is essential.  Such tools are under development.

3.4 Comparison with Queuing Theory

A few basic comparisons of the simulation program with Queuing Theory have been made [21].

3.4.1 M|M|1 Model

This model consists of a queuing station where jobs arrive with a negative exponential (Markovian) distribution for inter-arrival time [17].  This can be described in the simulation program as a database server acting as a queuing station for data request from clients with the same time distribution.  The results for different arrival rate shown in Fig. 3-4 (a) reproduce the mean number of jobs in the queue.

3.4.2 M|M|1 network queue model

This type of queuing model consists of a chain of M|M|1 queues.  In the simulation program, it can be modelled by creating a sequence of jobs.  This is similar to an analysis job which will sequentially process AOD, ESD and RAW records for each event.  Fig. 3-4 (b) and (c) shows the mean number of jobs and the mean response time as a function of system utilisation.

Fig. 3-4  Comparison with the queuing theory: (a) M|M|1 model (b)(c) M|M|1 network model

3.5 Summary

The simulation tool reproduces the measured job execution time of concurrent ODBMS data access using local and wide area networks.  A set of tools and methods has been developed to describe a profile of a given analysis job, and to monitor the performance of the distributed data analysis environment.  The behaviour of the distributed ODBMS has been modelled and validated.

However, it is important to understand that the evaluation of the system performance is a continuous cycle of refining modelling, testing and validation.  To make a reliable prediction of the system performance, more detail modelling of the analysis job and the validation of key system components such as hierarchical mass storage system are necessary.

Real use cases suggest new system architectures whose performance is strictly related to a defined set of working conditions that must be investigated using system prototypes.  These prototypes will be used to explore and resolve some of the problems and unexpected behaviours of the distributed system architecture.  The model studies during the next project phase should be based on large-scale prototypes.

Chapter 4: Assumptions Governing the Baseline Models

4.1 MONARC Architecture Working Group

The MONARC Architecture Working Group's aim was to provide realistic input to guide the simulation and analysis models developed by the other MONARC working groups.

This objective was accomplished via the following activities:

- a survey of computing architectures of existing experiments [22]

- a survey of computing architectures of near future experiments [23]

- a report describing the functionality required from a regional centre, based on a hierarchical architecture of sites [24].  In particular, it was emphasised that the service component of a regional centre is as important as the computing resource component.  The report includes architectural diagrams of a typical regional centre, including parameters describing typical analysis scenarios for an LHC experiment.

- A series of meetings with regional centre representatives from several countries where plans for future centres were compared with the basic distributed architectural model.  Participants discussed their plans to address LHC computing issues.  There are definite intentions in some countries to establish computing centres for LHC experiments at the scale described below.

These steps were carried out in close collaboration with the Analysis Working Group, resulting in a description and parameterisation of the LHC analysis process which sets the scale for resources required at a regional centre.

4.2 Motivations for a Hierarchical Organisation of Facilities Based on Distributed Computing Centres

A key element of the work was driven by a series of discussions which led to the conclusion that LHC simulation, reconstruction and analysis would be best accomplished by a distributed organisation based on a strong computing facility at CERN, referred to as the Tier-0 Centre, supported by a hierarchical collection of computing centres of various sizes and capabilities distributed throughout the world.  Several kinds of centres are envisaged:

- large Tier-1 Regional Centres, providing a wide range of facilities and services and serving a large country or geographic region;

- smaller Tier-2 centres, providing more limited services and facilities and serving part of a country or geographic region; and

- special purpose centres providing more limited capability and focusing on the solution of one or a few specific computing problems.

In a region having a Tier-1 Centre, the presence of Tier-2 and Special Purpose centres is not necessarily required.  Moreover, this hierarchy does not represent the entire set of facilities required for a physicist to analyse data.  It must be supported by workgroup servers at each institute (university, national laboratory, etc) where people are analysing data, sometimes referred to as Tier-3, and ultimately individual desktops where data analysts actually work, sometimes referred to as Tier-4.

The primary motivation for this organisation is to maximise the intellectual contribution of physicists all over the world, without requiring their physical presence at the CERN.  An architecture based on regional centres allows an organisation of computing tasks which permits physicists to analyse data effectively no matter where they are located.  Next, the computing architecture based on regional centres is an acknowledgement of the objective situation of network bandwidths and costs.  Short distance networks will always be cheaper and higher bandwidth than long distance (especially intercontinental) networks.  A hierarchy of centres with associated data storage ensures that network realities will not interfere with physics analysis.  Finally, regional centres provide a way to utilise the expertise and resources residing in computing centres throughout the world.  For a variety of reasons it is difficult to concentrate resources (not only hardware but more importantly, personnel and support resources) in a single location.  A regional centre architecture will provide greater total computing resources for the experiments by allowing flexibility in how these resources are configured and located.

A corollary of these motivations is that the regional centre model allows to optimise the efficiency of data delivery/access by making appropriate decisions on processing the data (1) where it resides, (2) where the largest CPU resources are available, or (3) nearest to the user(s) doing the analysis.

Under different conditions of network bandwidth, required turnaround time, and the future use of the data, different combinations of (1) - (3) may be optimal in terms of resource utilisation or responsiveness to the users.

Figure 4-1 shows a schematic of the proposed hierarchy.

4.3 Characteristics of Regional Centres

The various levels of the hierarchy are characterised by services and capabilities provided, constituency served, data profile, and communications profile.

The offline software of each experiment performs the following tasks:

initial data reconstruction (which may include several steps such as preprocessing, reduction and streaming; some steps might be done online); Monte Carlo production (including event generation, detector simulation and reconstruction); offline (re)calibration; successive data reconstruction; and physics analysis.

To execute the above tasks completely and successfully, both data and technical services are required.

Data services include: (re)processing of data through the official reconstruction program; generation of events; detector response simulation; reconstruction of Monte Carlo events; insertion of data into the database; creation of the official ESD/AOD/tags; updating of the official ESD/AOD/tags under new conditions; ESD/AOD/tag access (possibly with added layers of functionality); data archival/retrieval for all formats; data import and export between different tiers of regional centres (including media replication, tape copying); and bookkeeping (includes format/content definition, relation with Data Base).

Technical services include: database maintenance (including backup, recovery, installation of new versions, monitoring and policing); basic and experiment-specific software maintenance (backup, updating, installation); support for experiment-specific software development; production of tools for data services; production and maintenance of documentation (including Web pages); storage management (disks, tapes, distributed file systems if applicable); CPU usage monitoring and policing; database access monitoring and policing; I/O usage monitoring and policing; network maintenance (as appropriate); and support of large bandwidth.

4.4 Functions of CERN --  the Central Site

The following steps happen at the central site only: online data acquisition and storage; possible data pre-processing before first reconstruction; and first data reconstruction.

Other production steps (calibration data storage, creation of ESD/AOD/tags) are shared between CERN and the regional centres.

The central site holds: a complete archive of all raw data; a master copy of the calibration data (including geometry, gains etc.); and a complete copy of all ESD, AOD, tags possibly online.

The estimate for the amount of data taken is:

- 1 PB raw data per year per experiment

- 109 events (1 MB each) per year per experiment

- 100 days of data taking (i.e. 107 events per day per experiment)

Current estimates for a single LHC experiment capacity to be installed by 2006 at CERN are given in [25].

In the following, resources for the regional centre will be expressed in terms of percentage of the resources available at CERN as specified in the above document.

4.5 Configuration of Tier-1 Regional Centres

Architectural diagrams of a typical regional centre are shown in Figure 4-2, 4-3, and 4-4.  These are not meant to be physical layouts, but rather logical layouts showing the various work-flows and data-flows performed at the centre.  In particular services, work-flows and data-flows could be implemented at a single location or distributed over several different physical locations connected by a high performance network.

The overall architecture is shown in Fig. 4-2.  Production services are shown in the upper 80% of the diagram and consist of data import and export, disk, mass storage and database servers, processing resources, and desktops.  Support services are arrayed along the bottom of the chart, and include physics software development, R&D systems and test-beds, information and code servers, web and tele-presence servers, and training, consulting, and helpdesk services.

Fig. 4-2: Overall Architecture of a possible Regional Centre

Fig. 4-3 charts the workflow at the centre, with individual physicists, physics groups and the experiment as a whole submitting different categories of reconstruction and analysis jobs, on both a scheduled and spontaneous basis.  Shown also are the characteristics of these jobs and an indication of the scale of resources required to carry them out.  Fig. 4-4 shows an overview of the data-flow at the centre, where data flows into the central robotic mass storage from the data import facility (and out to the data export facility), and moves through a central disk cache to local disk caches on processing elements and desktops.

4.6 Tier-2 Centres

A Tier-2 regional centre is similar to a Tier-1 centre, but on a smaller scale; its services will be more focused on data analysis. Tier-2 centres could be seen as "satellites" of a Tier-1 with which they exchange data.  A Tier-2 regional centre should have resources in the range 5 to 25 % of a Tier-1 regional centre.

4.7 Survey of Existing Experiments

The survey included experiments from LEP, Fermilab Run 1, HERA, and the CERN and FNAL fixed target programs.  It was noted most large experiments had implemented highly centralised models of data analysis and successes in distributed data analysis were hard to find and mainly found in smaller experiments.  There were more examples of distributed production of simulated events.  The key element which stood in the way of successful distributed computing and analysis was identified as the lack of adequate support at remote sites.

4.8 Survey of Future Experiments

The survey of Future experiments included BaBar, CDF, D0, and STAR.  While these experiments have lower data production and significantly lower CPU requirements than the experiments planned for the LHC, they are the closest examples we have yet in HEP to LHC scale experiments.  They are either now in early phases of operation or will soon be.  They all have implemented some aspect of modern computing (object-oriented software paradigm, object database, more reliance on commercial software, commodity hardware, etc).  They have very different views of distributed vs centralised computing.  This survey is still underway and the topic is rapidly evolving since the experiments which are actually running, in particular BaBar, are being forced to adjust their approach as they confront the reality of their computing problems, especially in the area of data access [26].  We expect a final report in early spring.  The experience of these experiments will be invaluable to the LHC planners.  Careful tracking of these experiments should continue long after the completion of the report.

4.9 Meeting with Representatives of Possible Sites for 
Tier-1 Regional Centres

Once the discussion began to converge to a Tier-1 Regional Centre whose size is about 20% that of CERN, and the need for about 5 such centres per experiment became established, MONARC began to hold meetings with representatives of possible candidate sites for these (and also for Tier-2) centres.  It was essential to establish that countries and their computing establishments believe it is possible and reasonable to apply this level of resources to LHC computing and to hear their ideas on how these resources should be organised.  A total of three meetings were held.  Transparencies of the various presentations are available at [27].  One conclusion of this effort is that several countries are quite advanced in planning and seeking support for Tier-1 Regional Centres at the envisioned scale.  Other countries or groups of countries are just beginning their planning.  It is also clear, and not unexpected, that these centres will vary quite a bit in their style and organisation.  Much work will have to be done to convince countries that are not yet willing to commit resources at this scale to LHC computing to do so.  MONARC can help to facilitate the early phases of these discussions, but serious negotiations must take place between CERN, the collaborations, and the Regional Centre representatives (as well as their funding agencies).

4.10 Assumptions for Distributed Architecture Models

The hierarchical architecture described above has been used as the basis for the models described in the next chapter.  The parameters characterising the various stages in the analysis process shown in the above figures were also used as inputs to these models.  The parameters and possible variations are more fully described in the work of the analysis working group [28].  It is the task of the modelling activity to determine the suitability and cost effectiveness of this baseline architecture and to study the sensitivity to variations in the underlying parameters.

It is worth noting that this hierarchical, distributed model is a new model at least as applied to this scale of computing activity.  However, new ideas, such as Grid Computing, are being explored and, as time passes, could become viable options for LHC computing [29].

Chapter 5: Main Modelling Results

5.1 Scope of Modelling

The most important goal of the MONARC project was to develop a set of viable baseline models for the LHC experiments’ computing systems.  A set of data reconstruction jobs, physics analysis jobs and data transfers needed to satisfy the analysis jobs’ database queries, and the data replications required to maintain coherence of the continuously updated federated database, has been defined.  Each set satisfies the user requirements defined by the MONARC Analysis Working Group, and allows physicists to access the required amount of data in the desired time.

Tape handling and its I/O capability under a multi-user environment could be one of the most crucial aspects in the LHC experiments.  Although a model of tape robotics has been implemented in the MONARC simulation tools, one needs detailed use cases of data access patterns and the realistic time response of tape drives and robotics to perform reliable and viable modelling.  In the phase 2 of this project, we modelled other hardware components such as CPU farm, disk, and the bandwidth of wide area networks.  The modelling effort of the tape robotics will continue in the next phase of the project, based on the real use cases of the analysis program developed by each LHC experiment.  Detailed plans for evaluating use cases for each experiment are summarised in Chapter 7.

Some sets of the defined jobs have been executed both in a centralised computing system with just one centre (CERN), and in a distributed system with a number of Regional Centres.  Having fixed the set of activities to be performed, one can evaluate with the existing models the hardware resources and the network bandwidth needed to finish all jobs in the required time.  Both central and distributed classes of models have been shown to be feasible with the CPU, disk and network resources that are within those expected to be available in 2005.  The models, together with all the results obtained in the simulation runs, are available on the MONARC Simulation and Modelling Working Group Web pages [16].

5.2 Data Model

A hierarchical data model, similar to those developed within the ATLAS and CMS collaborations, has been incorporated in the MONARC simulations.  The experiment’s data events are written at the central site, CERN, as RAW objects of the size of 1 MBytes/event.  After the full reconstruction, the event summary data (ESD) objects are created of the size of 100 kBytes/event, as well as the analysis object data (AOD) of the size of about 10 kBytes/event, and the TAG objects of about 100 Bytes/event.  The full reconstruction is expected to take place twice a year.  Redefinition of the AOD and TAG objects, based on re-analysis of the ESD data, is expected to take place once per month.

The baseline models developed by MONARC are all based on a hierarchical set of computing centres.  The CERN computing centre will store all data types: RAW, ESD, AOD and TAG.  The Tier-1 Regional Centre (RC) will have replicas of the ESD, AOD and TAG; the Tier-2 RC only AOD and TAG.  The individual physicists may have just TAG at their desktops and possibly private collections of events in various data formats.  It would be possible to introduce variations on the above model, for example by allowing subsets of ESD data at the Tier-2 RC’s, or subsets of RAW data at Tier-1 RC’s, etc.

The smallest unit of the simulated federated database is a container, or a file.  A single integer, an event number, is the basis of the simulated event catalogue.  It allows a unique mapping of objects of various types to data containers (files) and to distribute them among numerous data servers (AMS servers).  The system is capable of identifying the files and the data servers that contain an event, or a range of events, as defined by their event numbers.  The current implementation of the data model allows simulating even very complicated data queries that follow associations between TAG->AOD, AOD->ESD and ESD->RAW.  The user-defined factors describing the frequency of such traversals across different data types are parameters of the data model.

5.3 Analysis Activities and Data Access Patterns

There are several phases in the analysis of an experiment’s data.  The first is to reconstruct the RAW data and to create the first version of Event Summary Data (ESD), Analysis Object Data (AOD) and TAG objects ("pass-1" analysis).  Each Physics Analysis Group will then define its standard data-set, and finally physicists will run their physics analysis jobs.  AOD and TAG data are expected to be re-defined more often than ESD ("pass-2" analysis).  The frequency of each of the operations, the volume of input and output data, and the amount of computing hardware resources needed to accomplish the task are the most important parameters of a LHC experiment computing model.  In Figure 5.1 we present the main tasks of the analysis process, and a sketch of the resulting data flow model.

5.3.1 Reconstruction of RAW data.

These jobs create the ESD (Event Summary Data objects), the AOD and the TAG data-sets based on the information obtained from a complete reconstruction of RAW data that has been already recorded.  The newly created ESD, AOD and TAG are then distributed (by network transfers, or other means) to the participating Regional Centres.  This is an Experiment Activity.  It is assumed that experiments should be able to perform a full reconstruction of the RAW data and distribution of the ESD, AOD and TAG data, 2-4 times a year.

5.3.2 Re-definition of AOD and TAG data.

This job re-defines the AOD and the TAG objects based on the information contained in the ESD data.  The new versions of the AOD and TAG objects are then replicated to the participating Regional Centres by network transfers.  This is an Experiment Activity that is expected to take place with a frequency of about once per month.

5.3.3 Selection of standard samples within Physics Analysis Groups

This class of jobs performs a selection of a standard analysis group sample, a subset of data that satisfies a set of cuts specific to an analysis group.  Event collections (subsets of the TAG database or the AOD database with only the selected events, or just pointers to the selected events) are created.  Re-clustering of the objects in the federated database might be included in this Analysis Group activity.

5.3.4 Generation (Monte Carlo) of "RAW" data set.

This job creates the RAW-like data to be compared with real data.  These jobs can be driven by a specific analysis channel (single signal) or by the entire Collaboration (background or common signals).  This is an Analysis Group or an Experiment Activity, and can take place both at CERN and at Regional Centres.

5.3.5 Reconstruction of "RAWmc" events to create ESDmc, AODmc and TAGmc.

This job is very similar to the real data processing.  Since RAWmc may be created not only at CERN the reconstruction may take place at the Regional Centres where the data had been created.  The time requirements of the reconstruction of these events are less stringent than for the real RAW data.

5.3.6 Re-definition of the Monte Carlo AOD and TAG data.

This job has the same characteristic of the ones at 5.3.2 and 5.3.5.  The difference may be in the need for the final analysis to access the original simulated data (the "Monte Carlo truth") at the level of the kinematics or the hits for the purpose of comparison.

5.3.7 Analysis of data sets to produce physical results.

These jobs start from data-sets prepared for the respective analysis groups, accessing Event Collections (subsets of TAG or AOD data-sets), and follow associations (pointers to objects in the hierarchical data model – TAG->AOD, AOD->ESD, ESD->RAW) for a fraction of all events.  Individual physicists, members of Analysis Groups submit these analysis jobs.  In some cases, co-ordination within the Analysis Group may become necessary.  Analysis jobs are examples of Individual Activities or Group Activities (in the case of enforced co-ordination).

5.3.8 Analysis of data sets to produce private working selections.

This job is a pre-analysis activity, with a goal to isolate physical signals and define cuts or algorithms (Derived Physics Data).  These jobs are submitted by individuals physicist, and may access higher data hierarchy following the associations, although (as test jobs) they require perhaps a smaller number of events than Analysis jobs described in 5.3.7.  These jobs are examples of Individual Activities.

The main characteristics of the major analysis tasks, such as the frequency with which the tasks will be performed, the number of tasks run simultaneously, the CPU/event requirements, the I/O needs, the needed time response et cetera, are summarised in Table 5-1.

5.3.9 Regional Centres and the Group Approach to the Analysis Process

The analysis process of experiments data follows a hierarchy: Experiment->Analysis Groups->Individual Physicists.  A typical Analysis Group may have about 25 active physicists.  Table 5-2 gives a summary of the “Group Approach” to the Analysis Process.

|  | Full reconstruction | Re-Define AOD/TAG | Define Group data-sets | Physics Analysis Job |
| --- | --- | --- | --- | --- |
|  | Value used | range | Value used | Range | Value used | Range | Value used | Range |
| Frequency | 2/year | 2-6/year | 1/month | 0.5-4/month | 1/month | 0.5-4/month | 1/day | 1-8/day |
| CPU/event (SI95*s) | 250 | 250-1000 | 0.25 | 0.1-0.5 | 25 | 10-50 | 2.5 | 1-5 |
| Input data | RAW | RAW | ESD | ESD | DB query | DB query | DB query | DB query |
| Input size | 1 PB | 0.5-2 PB | 0.1 PB | 0.02-0.5 PB | 0.1 PB | 0.02-0.5 PB | 0.1-1TB (AOD) | 0.001-1TB (AOD) |
| Input medium | DISK | TAPE/DISK | DISK | DISK | DISK | DISK | DISK | DISK |
| Output data | ESD | ESD | AOD | AOD | Collection | Collection | – | Variable |
| Output size | 0.1 PB | 0.05-2 PB | 10TB(aod) 0.1TB(tag) | 10 TB(aod) 0.1-1TB(tag) | 0.1-1TB (AOD) | 0.1-1TB (AOD) | – | Variable |
| Output medium | DISK | DISK | DISK | DISK | DISK | DISK | – | DISK |
| Time response (T) | 4 months | 2-6 months | 10 days | 5-15 days | 1 day | 0.5-3 days | 12 hours | 2-24 hours |
| Number of jobs in T | 1 /experiment | 1 /experiment | 1 /experiment | 1 /experiment | 1/Group | 1/Group | 20 / Group | 10-100 / Group |

Table 5-1  Characteristics of the main analysis tasks

| LHC Experiments | Value USED | Range |
| --- | --- | --- |
| Number of analysis groups (WG) | 20/experiment | 10-25/experiment |
| Number of members per group | 25 | 15-35 |
| Number of Tier-1 Regional Centres (including CERN) | 5/experiment | 4-12/experiment |
| Number of Analyses per Regional Centre | 4 | 3-7 |
| Active time of Members | 8 Hour/Day | 2-14 Hour/Day |
| Activity of Members | Single regional centre | More than one regional centre |

Table 5-2  Summary of the "Group Approach" to the Analysis Process.

The concept of a distributed computing system, with a number of Regional Centres distributed in the world, each with replicas of the AOD, TAG and a partial or complete (depending on the needs) of the ESD, maps very well to the Analysis Group approach to Analysis Process.  Physicists working on the same analysis tend to work together as sophisticated analyses require joint effort of faculty, post-doctoral research associates and students.  It is difficult to imagine that all physicists involved in physics analyses could move to CERN!  It is highly probable that Tier-1 Regional Centres will become focal points for different analysis efforts.  The original motivation to create Tier-1 Regional Centres, namely, to provide faster and more efficient access to the experiments’ data by exploiting the anticipated better WAN network bandwidth in a given region, as compared to the WAN connection to CERN, gains importance if the physics analyses are distributed world-wide as well.

5.4 Parameters of the Model

A complete list of global and local parameters that characterise the federated database, regional centre configuration and the data model used in MONARC simulation is presented in Appendix A.

5.5 Description of the simulated activities

The Baseline Models that have been built by MONARC simulate the following activities that will be performed at CERN, and/or at the Regional Centres:

- individual physicist’s analysis jobs (at all participating centres)

- analysis groups’ selection jobs, which define the standard analysis samples (at all participating centres)

- reconstruction of RAW data at CERN, which leads to creation of the new ESD, AOD and TAG data

- re-processing of ESD data at CERN, which leads to creation of the new AOD and TAG data

- replication of new ESD, AOD and TAG data from CERN to all Regional Centres, using an ftp-like transfer protocol

- generation and reconstruction of RAW Monte Carlo events at Tier-1 RC's, and of ESD Monte Carlo events at Tier-1 (or Tier-2) RC's

- reconstruction of Monte Carlo events generated at Tier-1 RC's

viii.	generation of the “fast Monte Carlo” events at Tier-2 RC’s

The number of events to be processed by various jobs, and the elapsed time in which the jobs should be finished were defined by the MONARC Analysis Working Group.  For example, the full reconstruction of RAW data should be done twice a year, and the re-definition of AOD once a month, with the task itself taking no more than 10 days, etc.

|  | RAW | ESD | AOD | TAG | Monte Carlo |
| --- | --- | --- | --- | --- | --- |
| Number of events in RAW, ESD, AOD, TAG and Monte Carlo data types and their location |
| #events, location | 1,000,000,000 CERN | 1,000,000,000 each Tier1:locally each Tier2:at Tier1 | 1,000,000,000 each RC: locally | 1,000,000,000 each RC: locally | 100,000,000 each Tier1:locally |
| Volume of replicated data (ftp); number of events and data volume accessed by analysis activities |
| Reconstruction input events Accessed per day | 6,000,000 | – | – | – | 1,000,000 |
| Reconstruction output | No | Yes | Yes | Yes | Yes |
| FTP transfers (replication) |  | 0.6 TB to each Tier1 centre | 60 GB to each Tier1 and Tier2 RC | 600 MB to each Tier1/Tier2 RC | 100 GB from each Tier1 RC to CERN |
| Definition of AOD / input | – | 100,000,000 events/day | – | – |  |
| Definition of AOD / output | – | – | Yes | Yes |  |
| FTP transfers (replication) |  |  | 1 TB to each Tier1 and Tier2 RC | 10 GB to each Tier1/Tier2 RC |  |
| Number of events and data volumes of different type to be accessed per day by different analysis activities |
| Physics Group Selection job (data accessed per single job); 20 jobs running, 1 per analysis group. | 0.001% of 1,000,000,000 (per job) (0.01 TB/job) | 0.1% of 1,000,000,000 (per job) (0.1 TB/job) | 10% of 1,000,000,000 (per job) (1 TB/job) | 100% of 1,000,000,000 (per job) (100 GB/job) |  |
| Physics Analysis (data accessed per single job); 200 jobs running, 10 jobs per analysis group. | 0.01%of AOD data (per job) (on average 0.045 TB/job) | 1% of AOD data (per job) (on average 0.45 TB/job) | Follow 100% of the group set (per job) (on average 0.45 TB/job) | Group Data-set: 1-10 % of all TAG objects (per job) (on average 4.5 GB/job) |  |

Table 5-3  Model of Daily Activities of the Regional Centres

Here we consider a specific model called the Distributed Daily Activity Model (DDAM).  In this model, activities in a typical 24-hour period in an LHC experiment were considered, such as reconstruction, analysis and data replication.  There are 20 different analysis groups in this model.  Each analysis group could have different standard data samples.  For 10 analysis groups their standard data-set contained 1% of the number of events, for 5 groups the data-set contained 5% of the total number of events, and for the remaining 5 the data-sets contained 10% of all events (on average 4.5% per analysis group).  Details of the data access involved in the tasks to be performed in the model of Daily Activities of the Regional Centres is presented in Table 5-3, together with the number of events that are processed (per day) to satisfy the experiment and user requirements.

In a model that describes a fully centralised scenario, all jobs are run at one centre (CERN).  In a model of a distributed computing system architecture (in the case of DDAM there are 5 Tier-1 Regional Centres and a single Tier-2 Centre), the analysis jobs are distributed among all participating Regional centres, while the reconstruction jobs are run at CERN only.

5.6 Results and conclusions

5.6.1 Results and group repository

All the results obtained in the baseline models developed by the MONARC Collaborations have been made available (“published”) in the MONARC Simulation and Modelling Group repository [16].  The files needed to construct the models, run the simulation jobs, and verify the results are available from the Web pages.  A detailed presentation of results of MONARC simulations can be found in a paper presented at CHEP2000 [12].

A fully centralised model (with all the activities taking place at CERN), and partially distributed models (with a number of Tier-1 and Tier-2 Regional Centres), were simulated.  Their performance was evaluated with a fixed set of tasks, with the requirement that all simulated activities had to be finished in a desired time interval (one or two days, depending on the models).  Various levels of optimisation of load balancing of the CPU and database access speed were tried and evaluated.  The resources necessary to complete the specified set of tasks (CPU, memory, network bandwidth, distribution of RAW, ESD, AOD and TAG data among the multiple data servers, etc.) were adjusted until the system was capable of finishing all jobs in the desired time.  The optimisation was performed “by hand”, i.e. the parameters of a particular model were changed, the new simulation was run and the results examined.  The final parameters used for the DDAM are reported in Appendix A.

With the set of tasks to be performed and the elapsed time in which all tasks should finish fixed, the cost of the system is the variable that reflects the quality of solution.  Also, the amount of resources necessary to accomplish the required tasks should be within the expected limits.  To first order, the difference in cost of hardware between the fully centralised and the partially distributed scenarios is the additional price for storage media and data servers for replicated ESD, AOD and TAG data.  However, a distributed computing system with replicas of parts of data may be more flexible and in the sense that the load of analysis jobs is also distributed.  Data I/O are also distributed to different servers and therefore more robust against bottleneck operations.  It should be emphasised that in both classes of models we found that the required resources did not exceed the planned CPU, memory, data-server I/O and network bandwidth of the computing systems for the LHC experiments.

At present, no serious price versus performance comparison between the centralised and distributed computing models is available, as only the hardware costs and the network connection costs are included in the cost function.  However, with a more complete cost function that will include travel costs and, more importantly, quantify differences in the human aspects of different architectures of computing systems, finding an optimal solution should be possible.

All the results should be treated as preliminary.  For example, tape handling is not covered yet.  The baseline models describe mature experiments, in which all the data has been already reconstructed at least once, and with ESD, AOD and TAG data available at all Regional Centres.  The models will evolve in the direction of automatic load balancing and resource optimisation.  However, the three main conclusions that emerge from the simulations performed with the current baseline models are unlikely to change.  These are summarised in the following sub-sections.

5.6.2 Network implications

For a distributed computing system to function properly (i.e. to support the data transfers requested by the analysis jobs, and, simultaneously, the data transfers necessary to replicate the ESD, AOD and TAG objects) a network bandwidth of 30 MBytes/s between CERN and each of the Tier-1 Regional Centre is required.  Of course one must take into account that this bandwidth requirement may well be competing with other demands for the total available bandwidth.  On the other hand, one can envisage replicating ESD, or AOD data by means other than network transfers such as shipping tapes or CDs, as has been assumed in the baseline models.  Such a hybrid (network and non-network) replication scheme would reduce the demand for the network bandwidth.

However, the current results suggest that it should be possible to built a useful distributed architecture computing system provided the availability of CERN->Tier-1 Regional Centre network bandwidth is of the order of 622 Mbps per Regional Centre.  This is an important result, as all the projections for the future indicate that such connections should be commonplace in 2005.  This means that distributed computing systems will be technologically viable at the time when the LHC experiments will need them.  A preliminary but similar result was also obtained for a minimum bandwidth requirement of a Tier-2 to Tier-1 connection.  To answer the question of how the Tier-2 centres will function requires a further study.  In Figure 5-2 we present the plots obtained with the DDAM showing the WAN traffic as a function of time.

In this figure, the plot to the left presents our simulation of the WAN traffic between CERN and any of the 5 Regional Centres that are part of the partially distributed computing system.  The assumed 30 MBytes/s bandwidth is close to being fully saturated for all connections.  ("Caltech2" is a Tier-2 regional centre, while all others are Tier-1 regional centres.)  In the plot on the right, the WAN traffic for one of participating centres to all other centres is shown.  Here, only the connection to CERN is active (if data is unavailable at a Regional Centre, then the database associations point to data at CERN).  One can clearly see that the assumed bandwidth of 30 MB/s is almost fully saturated.

Fig. 5-2  Wide area network traffic activities in DDAM (Distributed Daily Activity Model)

5.6.3 Optimisation of job submission scheme

The results of simulations with the baseline models indicate clearly that load balancing through optimising job submission is a very important factor in tuning the performance and cost of the system.  For the systems with large number of CPUs, it is much better to submit many jobs, each processing a smaller number of events, rather than submit a few jobs each processing an enormous amount of events.  Such optimisation of the job submission process exploits the stochastic nature of the problem, and leads to a much better utilisation of the distributed resources.  This result is easy to understand intuitively as one can much easier keep all the CPU’s active with many small jobs.  We have found that one could reduce the overall cost of the system by a large factor (2-4) simply by load balancing the CPU by optimisation of job submission.  Without optimisation, one would have to provide more, or faster, CPU power in order to finish the jobs in required time.  At present, optimisation of job submission was performed in each Regional Centre independently, with jobs being submitted at a local Regional Centre.  However, one could consider system-wide load balancing schemes, which could lead to still greater gains in optimised utilisation of resources.

5.6.4 Load-balancing of database servers (AMS servers)

It was found that it is also very important to balance the load on the data servers.  Failing to distribute containers (files) of different types of data among the data servers uniformly may lead to significant bottlenecks, which in turn may lead to increases in the time it takes to finish the assumed set of tasks (easily by a factor of 2).  Jobs sit idle in memory waiting for data to arrive from the data servers (AMS servers), as can be seen in Figure 5-3.  This points to a need for careful design of the federated database layout, and a need for dedicated simulations of the future CERN, Tier-1 and Tier-2 data management systems in order to maximise the effective I/O throughput.

In this figure, the CPU/memory utilisation plot as a function of time for the CERN centre with non-optimised AMS servers is shown in the upper-left plot and better optimised AMS servers in the upper-right plot.  In either case, the same set of jobs was submitted.  Also shown are: AMS read load for non-optimised case (lower-left plot); and better optimised case, in which data was more evenly distributed among servers (lower-right plot).

Fig.5-3  Effect of load-balancing in the database servers

Chapter 6: Phase 2 Conclusions

The main conclusions of the MONARC work can be summarised as follows:

- MONARC has demonstrated that a hierarchical model of computing resource distribution, based on Regional Centres, is feasible.  There exists willingness in many national communities to participate in the development of a computing infrastructure such as the one defined by the MONARC model, and the infrastructures needed to develop and deploy the MONARC computing model are potentially available.  The MONARC model seems capable of dealing with the computing needs of the experiments.

- The MONARC simulation tool has proven to be an excellent instrument for computing model studies.  The basic elements of LHC computing, object database and wide-area network performances, jobs activities and resource utilisation have been implemented, with flexible facilities for varying key model parameters.  The simulation results have permitted assessment of the matching between a given set of resources and a static load of activities.  The modularity of the simulation tool permits the easy addition of new modelling blocks for iterative validation steps.

- The further development of realistic models, suitable for implementation and optimised for resources and performance, including the large-scale mass storage system, will require the following steps:

- Development of middleware for farm management, allocation of resources, query estimation and priority setting, network monitoring, etc. The GRID projects are expected to be able to provide several of these fundamental tools.

- Set up of use-cases and realistic prototypes by the experiments. Feedback from the these test-benches will allow the iterative development and refinement of the model

- Simulation tool use (and further development), for helping in the optimisation of the system and in the identification and solution of possible bottlenecks.

MONARC Phase-3 will address the issues summarised in c) above, with the aim of favouring the best possible synergy with the initial phase of the planned EU-GRID project and with the ongoing US-GRID activities.

Chapter 7: Phase 3 and future work

In appendix B we reproduce a large extract from the LOI for the Monarc Phase 3 project, proposed to continue, for a period of approximately one year.  The sections in Appendix B reproduce all the material in the LOI devoted to the Phase-3 future activities, and are attached to this report for documentation purposes. The following sections of this chapter provide an update of the planning for Phase-3; such update was scheduled in the LOI to appear in this Report.

The deliverables of MONARC Phase 3 are realistic technical options for the site and network architectures, and estimates of the associated resource requirements for LHC Computing.  The results of Phase 3 will be presented to the experiments and CERN, in support of further Computing Model development for the Computing TDRs.  The central theme of Phase 3 will be to base the model studies on large-scale prototypes at each stage, including the event simulation, reconstruction and physics analysis studies planned by some of the LHC experiments starting in the Spring of 2000.  This will enable MONARC to face the key issues and problems of distributed data access, processing and analysis in a real working environment.  By studying and modelling these real use cases, MONARC hopes to develop more efficient and cost-effective strategies for LHC data analysis, making best use of the resources at CERN and the Regional Centres.  The MONARC Simulation toolset will also be further developed so that it can provide more realistic assessments of the site configurations, and the ability of a given distributed architecture to support the required workload within the limits of acceptable turnaround time.  In the following we review the activities planned by the LHC experiments in the coming year that seem well suited as testbeds for MONARC.

7.1 Atlas Trigger Studies

Increasingly large scale studies have been planned by the ATLAS TDAQ community in view of the Technical Proposal on DAQ, High-Level Triggers and DCS, due to be submitted in March 2000, and the TDR, due by end 2001.

The degree of accuracy needed in evaluating the efficiency and the rejection power of the trigger system for many relevant physics channels requires large samples of fully simulated physics and background events and complex analyses.  Because of the huge amount of people and resources involved, these studies constitute a real distributed computing and data challenge.

To face this challenge with an innovative approach, the muon trigger community is planning to produce, store and process in a distributed computing environment, via GRID tools and services, some 5*107 single muons (requiring ~5*109 SPECint95*sec and a few TBytes of disk space) needed to improve the muon trigger system and evaluate its performances.

In particular, the sample will include: a) single muon events, to tune the first level trigger logic and to optimise the algorithms of the high level triggers; b) physics events with muons in the final state, to evaluate the stand-alone and combined muon trigger efficiencies; c) background events to determine the rejection power of the system.

The aim of the project is to generate these data samples attaining an efficient use of all the available computing resources, which are located in several sites and computing centres.  For this purpose, some GRID services, like advance co-reservation, co-scheduling, real-time workload management and monitoring look very promising: the existing tools will be considered and possibly used.

An adequate degree of data distribution and replication will be implemented, so as to optimise data access by the many people processing data in the different sites.

To achieve this goal, replicated detector description databases and distributed event databases will also be considered.

7.2 Alice Distributed Data Challenge

The ALICE experiment has special requirements in the domain of raw data I/O.  The trigger rate for the central events is now foreseen at 20 Hz, i.e. a factor 5 below the other experiments.  Nevertheless, the large uncertainty in the multiplicity of high energy ion collisions (dN/dy[y=0] up to 8000) may lead to an effective data rate out of second level trigger in excess of 2 GB/s, and a compressed data rate to storage in excess of 1 GB/s.  It is vital for the ALICE experiment to assess its capacity to store these data and to explore the possibilities of exploiting higher level triggers.

To achieve this goal, a campaign of data challenges has been launched in collaboration with CERN/IT Division.  A first data challenge [30] has demonstrated the capability of the ALICE prototype DAQ system [31] to inter-operate with our off-line framework and write data as objects using ROOT I/O at 10MB/s.  The next data challenge [32] scheduled for March 2000 intends to demonstrate the capability of writing at 100MB/s, i.e. 1/10 of the possible real rate.  A simple Level-3 trigger algorithm will be tested during this exercise to see its impact on performance.

The future data challenges will be extended with the participation of remote computing centres.  The objective is to test schemes of real time data duplications and remote reconstruction.  Data simulated and digitised with the AliRoot framework will be objectified.  A Level-3 algorithm will run on these data to identify one or more physics channels of special interest (di-electrons, di-muons).  On the flight data reduction and coarse reconstruction will be performed, creating a local stream raw data coming exclusively from the regions of interest for the trigger.  The entire interesting event will be duplicated and sent remotely to a centre where, starting from the Level-3 trigger information, it can be fully reconstructed and analysed.  Results of the coarse analysis done at CERN and of the detailed analysis done remotely will be displayed and compared.

This real-time application will be extremely demanding in terms of resources and performance, and it will allow exploring a domain of application that has not yet been studied in detail by the MONARC project. It will also give ALICE a first hint of the feasibility of duplicating raw data.  This is a particularly sensitive topic for ALICE as the total amount of data, encompassing proton and heavy ion runs can exceed 2 PB per year, i.e. the double of the other experiments, making raw data duplication a real issue.

In parallel ALICE has developed a proposal of distributed analysis prototype in the framework of the GRID project.  This aims at building and exploiting for physics studies an advanced parallel distributed interactive analysis facility implementing self-adaptive load balancing between nodes.  The data to be analysed by this facility in the framework of the ALICE Physics Performance Studies will be produced and reconstructed at the regional centres with our production framework AliRoot.  Thanks to the ROOT parallel facility it will be possible to implement a flexible interactive schema that will allow the user to chose among a wide variety of processing paradigms, from retrieval of remote data and local processing to remote processing with retrieval only of the final histogram.

The scale and scope of this project depend on the acceptance of the GRID project that will be submitted to the European Union and on the level of funding granted.

7.3 CMS High Level Triggers

The Level 1 trigger in CMS will achieve a factor ~500 reduction in data rates from 40MHz to 75kHz.  High Level Triggers (HLT) will be run in processor farms and they will depend on Data Acquisition System and Off-line (mainly reconstruction) software.  Algorithm development and, in a second phase, optimisation for HLT is achieved mainly via simulation of a large number of Level 1 events which constitute the basic input for HLT studies.  Once the basic principles and algorithms are defined, the phase of technology extrapolation and code optimisation can begin.  This phase will also be computing intensive and will require a co-ordinated set of ORCA releases and HLT studies of increasing size (in terms of the numbers of events and data volumes) and sophistication [33].

Several basic design parameters have to be investigated in the definition of efficient and reliable HLT algorithms.  Some, such as the definition of the Basic Units of Information, the size of the data blocks transferred or the granularity of event building, are closely connected with the readout architecture.  Others such as the Level 2 algorithms, the number of trigger levels or the amount of information needed by Level 2 and 3 triggers and the selection criteria for writing raw data are closer to the physics interpretation of the data.

All LHC experiments are considering the use of CPU farms for HLT.  However, several issues need to be clarified, such as the management of ~1000 processors, the infrastructure for system support and farm control, monitoring and networking.

In order to be able to respond in a timely fashion to all these questions, a substantial simulation activity has to be started which is aimed at developing and tuning a set of efficient algorithms (each one with a specification of input and output trigger rate).  Efficiencies for each relevant physics channel and data needed by each algorithm need to be measured and understood as well.  The HLT hierarchy needs to be established to obtain a reduction in the switch bandwidth by a factor 5.  This work starts with the simulation of the Level 1 calorimetric (electron, photons and jets) and muon (single and di-muons) detector response for a sufficient number of background events.  Then clear signatures (W, Z, b) are generated with the aim of confirming the existing Level 1 efficiency studies.  Reconstruction is performed on this data as best case scenario.  Then different HLT strategies will be deployed and tested against the best case, Level 1 reconstruction scenario.

This work implies the generation of a large sample of Monte Carlo data that will form the basic input for an optimisation work where these data will be accessed several times for application of HLT algorithms, reconstruction and comparison.  The quality of the result, i.e. the definition of an optimal strategy, will depend on the amount of computing resources available.

This has already led to a strong and immediate demand for MONARC’s help with the design and optimisation of data structures, data access strategies, and resource management, to make good use resources at some Regional Centre sites as well as CERN.  The exploitation of computing resources geographically distributed during the actual production phase will provide a real-size benchmark for the models developed by MONARC, and will, at the same time, provide the needed resources for Model validation.

7.4 LHCb detector, physics and trigger studies

LHCb has the most demanding multi-level trigger system of the four LHC experiments, including a vertex trigger level.  As such it has a specialised vertex detector, and is also the only LHC experiment to have large-scale RICH detectors.  Both of these require detailed optimisation with Monte Carlo studies.  However the most demanding of computing resources are the trigger optimisation studies, and physics studies for signal and background for many B-Physics channels.

The current LHCb computing model, which is evolving, differs from those of ATLAS and CMS in that they plan to replicate data from CERN to the regional centres only at the level of AOD and TAG, with access to RAW and ESD data being on demand for selected samples.  Also in the LHCb model it is planned to generate all Monte Carlo events outside CERN, with replication at the AOD+TAG level to CERN and other regional centres.

LHCb have already functioning Monte Carlo centres at Liverpool, a 300 PC farm, and RAL.  It is planned in the next year to begin putting these activities under a GRID umbrella, with the joint involvement of the LHCb/UK institutes, RAL and CERN.  All of these activities will gradually increase in scale from 2001 onwards.  In general the visibility of Monte Carlo data-sets to physics analysis will be tested in a number of possible scenarios.  Also basic functions associated with the LHCb model will be tested.  I.e. replication, the selection of RAW+ESD data for selected samples etc.

Though this work will commence in the UK it will be used in general to validate our thinking, and will, in time, be applied to activities in LHCb in general, and be of immediate practical use for the LHCb physics analysis environment.

7.5 Better understanding of rates, event size
	 and analysis requirements

One of the most important work-packages of MONARC Phase 3 will be the further development and validation of the simulation tool.  The large-scale testbeds foreseen will provide realistic conditions for the acquisition of data that can be reproduced by the simulation tool.  Once the predictive capability of the MONARC simulation are established, to be able to make meaningful predictions for the operation of the real LHC regional centres, it is mandatory to have the most plausible set of input data.

The different experiments should update their estimations for the basic parameters that define the computing model.  Raw data rate and size should be revised in the light of the latest design.  The CPU time and event size corresponding to the different phases of the reconstruction, as well as reconstructed event sizes should also be revisited in order to improve the quality of the predictions.  The analysis model should be refined to take into account that Regional Centres will have to sustain different mixes of physics tasks and detector studies, covering a large range of variability in the percentage of data used, size of the data traversed etc.  It is expected that the basic parameters will be defined by a range of possible values, to which corresponds a range of results from the simulation.  Given the present maturity of the simulation tool it will be possible to conduct sensitivity studies aimed at determine the sensitivity of the simulation results to the different input conditions.

As the uncertainties in the design parameters will decrease with time, and the predictive power of the simulation tool will increase with the development of the testbeds, it is expected that the quality of the MONARC simulations will increase remarkably during the Phase 3 of the project.

7.6 Job scheduling and resource allocation

An important problem in the analysis of LHC data will be the resource management, including the data access to mass storage system.  There are two aspects to this important problem.  The first concerns the optimal distribution of resources to a number of tasks.  In this area the MONARC tool has already given important indications, and it is expected that its further development together with its validation on large-scale prototypes will allow the determination of strategies for the efficient use of local and remote resources.  But this is tactical optimisation, which does not concern the management of the total workload, but only its optimal or sub-optimal distribution on existing resources.

The second aspect concerns the management of the total workload on the system of networked centres, i.e. strategic optimisation.  This is achieved via the control of the injection of work into the system.  The different experiments have in common the assumption that every physicist should have a priori access to all the data.  If not properly managed, this possibility can generate unreasonable workloads, incompatible with the experiment’s priorities and the principle of granting to all users a fair share of the computing resources.  This can happen intentionally, by submitting an analysis or reconstruction job that needs to traverse a large portion of the data, or simply by mistake.

To enforce proper management of the resources, both tactical and strategic, and avoid their misuse, it must be possible to evaluate the resources required by a task before it is submitted for execution.  It can be argued that this is equivalent to run two jobs for each user request.  The first evaluates the demand of the task submitted and decides whether it will be send for execution, where and with which priority, or whether it needs a special authorisation before being executed.  The second is the task itself.

The MONARC simulation program will be used here to define which parameters should be looked at based on their simulated impact on the overall job turnaround.  However MONARC Phase 3 should start a reflection on the ways in which a given task may communicate the resources that it requires.

7.7 Relation with the GRID initiative

Phase 3 of the MONARC project will follow the development of GRID technology, as this holds the promise of providing an extended toolset to facilitate the deployment and the study of the MONARC computing models.  Additionally GRID middleware provides functionality and services that, although not necessarily within the scope of MONARC, are nevertheless probably instrumental in the definition of future WAN distributed computing architecture.

Acknowledgement

MONARC is pleased to acknowledge the strong support and collaboration of the CERN/IT Division in this project, especially the PDP group and for its help and support for the testbed and simulation systems, and the CS Group for its efficient management and operation of CERN's network links to Europe, Japan and the US which were important for our tests over wide area networks.  We gratefully acknowledge the support of our respective funding agencies: IN2P3 in France, INFN in Italy, MONBUSHO (Ministry of Education, Science, Sports and Culture) and YUSEISHO (Ministry of Posts and Telecommunications) in Japan, PPARC in UK, and the US Department of Energy and National Science Foundation.

Appendix A : Global and local parameters used in models.

Table A.1: A list of global parameters currently in use by baseline models built with the MONARC simulation tool (Two-Day Activities Model [34] and Daily Activities Model [35])

| federated database and data model parameters (global) |
| --- |
| Global parameter name | Daily Activities model | 2-day activities model |
| Database page size | 64 kB | 64 kB |
| TAG object size/event | 100 B (neg.exp) | 100 B |
| AOD object size/event | 10 kB | 10 kB |
| ESD object size/event | 100 kB | 100 kB |
| RAW object size/event | 1 MB | 1 MB |
| Processing time RAW->ESD | 250-500 SI95*s | 500-1000 SI95*s |
| Processing time ESD->AOD | 25 SI95*s (normal) | 25 SI95*s |
| Processing time AOD->TAG | 2.5 SI95*s (normal) | 5 SI95*s |
| Analysis time TAG | 0.25 SI95*s (normal) | 3 SI95*s |
| Analysis time AOD | 2.5 SI95*s (normal) | 3 SI95*s |
| Analysis time ESD | 25 SI95*s (normal) | 15 SI95*s |
| Generate RAWmc | – | 5000 SI95*s |
| Generate ESD | – | 1000 SI95*s |
| Generate AOD | – | 25 SI95*s |
| Generate TAG | – | 5 SI95*s |
| Memory for RAW->ESD processing job | 200 MB | 100 MB |
| Memory for ESD->AOD processing job | 200 MB | 100 MB |
| Memory for AOD->TAG processing job | 200 MB | 100 MB |
| Memory for TAG analysis job | 200 MB | 100 MB |
| Memory for AOD analysis job | 200 MB | 100 MB |
| Memory for ESD analysis job | 200 MB | 100 MB |
| Container size RAW | ~200 GB | 10 GB |
| Container size ESD | ~5.4 GB | 10 GB |
| Container size AOD | ~ 3 GB | 10 GB |
| Container size TAG | ~30 MB | 10 GB |

Table A.2: A list of local parameters currently in use by baseline models built with the MONARC simulation tool (Daily Activities Model and Two Day Activities Model)

| Regional centre configuration parameters (local) |
| --- |
| LOCAL parameter name | Daily Activities model | 2-day activities model |
| AMS link speed | 200 MB/s | 100 MB/s |
| AMS disk size | 125 TB | 20-100 TB |
| Number of AMS servers | 85 (CERN); 37 Tier1 RC | 10-58 |
| Number of processing nodes | 600 (CERN); 200 at Tier1 RC | 20-1000 |
| CPU/node | 500 SI95 | 500 SI95 |
| Memory/node | 200 MB | 1 MB |
| Node link speed | 50 MB/s | 10 MB/s |
| Mass storage size (in HSM) | 1000 TB (0 for Tier1 RC) | 50-1000 TB |
| Link speed to HSM | 2000 MB/s (0 for Tier1 RC) | 100 MB/s |
| AMS write speed | 200 MB/s | 100 MB/s |
| AMS read speed | 200 MB/s | 100 MB/s |
| Network bandwidth to/from each RC | 30 MB/s | 40 MB/s |

Table A.3: A list of local parameters (that could be defined per activity or even per job) defining database queries (following associations between objects) currently in use by baseline models built with the MONARC simulation tool (Daily Activities Model and Two Day Activities Model.

| Data access pattern parameters (local) |
| --- |
| Fraction of events for which TAG->AOD associations are followed | 10-100% |
| Fraction of events for which AOD->ESD associations are followed | 1% |
| Fraction of events for which ESD->RAW associations are followed | 1% |
| Clustering density parameter | Unused |

Appendix B : Motivations for MONARC Phase 3

The motivations for MONARC Phase 3 were spelled out in the Progress Report in June 1999:

“We believe that from 2000 onwards, a significant amount of work will be necessary to model, prototype and optimise the design of the overall distributed computing and data handling systems for the LHC experiments. This work, much of which should be done in common for the experiments, would be aimed at providing "cost effective" means of doing data analysis in the various world regions, as well as at CERN.  Finding common solutions would save some of the resources devoted to determining the solutions, and would ensure that the solutions found were mutually compatible.  The importance of compatibility based on common solutions applies as much to cases where multiple Regional Centres in a country intercommunicate across a common network infrastructure, as it does to sites (including CERN) that serve more than one LHC experiment.”

A MONARC Phase 3 could have a useful impact in several areas, including:

- facilitating contacts, discussions, interchanges, for the planning and mutually compatible design of centre and network architecture and services (among the experiments, the CERN Centre and the Regional Centres)

- providing a  modelling consultancy and "service" to the experiments and Centres

- providing a core of advanced development activities aimed at system optimisation, and pre-production prototyping

- taking advantage of MONARC’s synergy with (and complementary to) the work on distributed data-intensive computing systems beginning this year in other "next generation" R&D projects, such as those on Grid Computing.

The Phase 3 study will be aimed at maximising the workload sustainable by a given set of networks and site facilities, while reducing the long turnaround times for certain data analysis tasks.  Unlike Phase 2, the optimisation of the system in Phase 3 would no longer exclude long and involved decision processes, where a momentary lack of resources or “problem” condition could be met with a redirection of the request, or with other fallback strategies.  These techniques could result in substantial gains in terms of work accomplished or resources saved.

Some examples of the complex elements of the Computing Model that might determine the (realistic) behaviour of the overall system, and which could be studied in Phase 3 are

- Resilience, resulting from flexible management of each data transaction, especially over wide area networks

- Fault tolerance, resulting from robust fall-back strategies and procedures (automatic and manual, if necessary) to recover from abnormal conditions (such as irrecoverable error conditions due to data corruption, system thrashing, or a subsystem falling offline)

- System state tracking, so that the capability of the system to respond to requests is known (approximately) at any given time, and the time to satisfy requests for data and/or processing power may be, on average, reliably estimated, or abnormal conditions may be detected and in some cases predicted.

MONARC in Phase 3 could exploit the studies, system software developments, and prototype system tests scheduled by the LHC experiments during 2000, to develop more sophisticated and efficient Models than were possible in Phase 2.  The Simulation and Modelling work of MONARC on data-intensive distributed systems is more advanced than in PPDG or other NGI projects in 2000, so that MONARC Phase 3 could have a central role in the further study and advancement of the design of distributed systems capable of PetaByte-scale data processing and analysis.  As mentioned in the PEP, this activity would potentially be of great importance not only for the LHC experiments, but for scientific research on a broader front, and eventually for industry.

Goals and Scope of MONARC Phase 3

MONARC Phase 3’s central goal is to develop more realistic Computing Models meeting the LHC Computing Requirements than were possible in the Project’s first two phases.  This goal will be achieved by confronting the Models with realistic large scale “prototypes” at every stage, including the large scale trigger, detector and physics performance studies that will be initiated by some of the experiments in the coming year.  By assessing these “Use Cases” involving the full simulation, reconstruction and analysis of multi-Terabyte data samples, MONARC will able to better estimate the baseline computing, data handling and network resources needed to handle a given data analysis workload.

During Phase 3, MONARC will participate in the design, setup, operation and operational optimisation of the prototypes.  The analysis of the overall system behaviour of the prototypes, at the CERN site and including candidate Regional Centre sites, will drive further validation and development of the MONARC System Simulation.  This is expected to result, in turn, in a more accurate evaluation of distributed system performance, and ultimately in improved data distribution and resource allocation strategies.  Strategies that will be recommended to the experiments before their next round(s) of event simulation, reconstruction and analysis studies.

As a result of this mutually beneficial “feedback”, we also expect to obtain progressively more accurate estimates of the CPU requirements for each stage of the analysis, and of the required data rates in and out of storage and across networks.  We also expect to learn, in steps, how to optimise the data layout in storage, how to cluster and re-cluster data as needed, how to configure the data handling systems to provide efficient caching, and how to implement hierarchical storage management spanning networks, in a multi-user environment.

In addition to the large scale studies of simulated events initiated by the LHC experiments, MONARC will develop its own specific studies using its Testbed systems to explore and resolve some of the problems and unexpected behaviours of the distributed system that may occur during operation of the large-scale prototypes.  These in-depth studies of specific issues and key parameters may be run on the MONARC testbeds alone, if adequately equipped, or in tandem with other large computing “farms” and “data servers” at CERN and elsewhere.

In the course of studying these issues using testbeds and prototype systems, we expect to identify effective modes of distributed queue management, load balancing at each site and between sites, and the use of “query estimators” along with network “quality of service” mechanisms to drive the resource management decisions.

One technical benefit for the HEP and IT communities that will result from MONARC Phase 3 is the development of a new class of interactive visualisation and analysis tools for the distributed system simulation.  This work, based on new concepts developed by MONARC’s chief simulation developer I. Legrand, has already begun during MONARC Phase 2.  Based on the initial concepts and results, we are confident that by the end of Phase 3 we be able to make available a powerful new set of Web-enabled visual tools for distributed system analysis and optimisation, that will be applicable to a broad range of scientific and engineering problems.

Large-Scale Prototype Examples

Following the ORCA3 software release and the CMS High Level Trigger (HLT) 1999 milestone, it became evident that a co-ordinated set of future ORCA releases and HLT studies of increasing size (in terms of the numbers of events and data volumes) and sophistication would be required.  In order to carry out the ORCA4 release of the software and the subsequent HLT study in the first half of 2000, two of CMS’ major milestones have been advanced to next Spring:

- Simulation of data access patterns				March 2000

- Integration of databases and mass (tape) storage		March 2000,

where we will use large volumes of “actual” (fully simulated and reconstructed) data.  This has led to a strong and immediate demand for MONARC’s help with the design and optimisation of data structures, data access strategies, and resource management, to make good use resources at some Regional Centre sites as well as CERN.

In a similar vein, ATLAS is planning large-scale studies using large samples of GEANT4 data, and ALICE is planning a series of increasingly large “data challenges”.

In the course of MONARC-assisted studies such as these, working closely with the experiments, MONARC is confident that it will be able to progressive develop more realistic Computing Models, and more effective data access and handling strategies to support LHC data analysis.

Phase 3 Schedule

The preliminary schedule for Phase 3 covers a period of approximately 12 months, starting when Phase 2 is completed.  The completion of Phase 2 will be marked by the submission of the final MONARC Report on Phase 1 and 2, in March 2000.

We foresee that Phase 3 will proceed in several sub-phases:

- Phase 3A: Decision on which prototypes to exploit and/or build.  Develop general plan for co-operative work with the LHC experiments and CERN/IT.  This will require a

- Joint MONARC/Experiments/Regional Centres Working Meeting

- Phase 3B: Specification of resources and prototype configurations

- Setup of simulation and prototype environment

- Phase 3C: Operation of prototypes; operation of MONARC Simulation System; analysis of results

- Phase 3D: Feedback between prototypes and studies with MONARC Simulation; strategy optimisation.

The MONARC Phase 1 and 2 Report will contain a proposal for a somewhat more detailed set of milestones and schedule.

Equipment Needs and Network Requirements for Phase 3

The equipment needs for Phase 3 involve access to existing or planned CERN/IT facilities, with some possible moderate upgrades depending on the scale of the prototype simulation/reconstruction/analysis studies to be carried out by the LHC experiments.  An disk and memory upgrade to the existing Sun E450 server (MONARC01) purchased by CERN for MONARC will also be needed.

While the equipment requirements will be better specified in Phase 3A, we include a list of preliminary requirements for discussion with CERN/IT, and for planning purposes:

- Access to a substantial computing and data handling system managed by CERN/IT, consisting of a Linux CPU farm, and a Sun data server, linked over Gigabit Ethernet to internal and external networks

- Access to a Multi-Terabyte robotic tape store

- Non-blocking access to wide area network links to the main (potential) Regional Centres

- Temporary use of a large volume of tape media (e.g. for ALICE).

There is a specific need to upgrade the Sun MONARC01 server, to make it a sufficiently capable “client” that will be used together with the larger system indicated above:

- Memory upgrade to at least 1 Gigabyte

- Attachment of RAID disk array of at least 1 Terabyte.

During MONARC Phase 3, we expect to take advantage of the substantially higher bandwidth network connections (in the range of 30 to 155 Mbps)  that will become available this year between CERN and Europe, Japan and the US.  We will work with CERN/IT to better understand the technical requirements and means to best use these networks to further study and prototype the LHC distributed Computing Models, as well as the requirements for reliable and secure high throughput connections to key points on the CERN site.

Relationship to Other Projects and Groups

During MONARC Phase 3 we intend to continue our close collaboration with the LHC experiments, and also to work in closely with the CERN/IT groups involved in the development and use of large databases, as well as data handling and processing services.  Our role with respect to the LHC experiments will be to seek effective strategies and other common elements that may be used in the experiments’ Computing Models.  While MONARC will have its own unique role, using   distributed system simulations to optimise present as well as future large scale data analysis activities for the LHC experiments, we will also keep close contacts with present (PPDG) and future Grid Computing projects in the US (GriPhyN) and in the European Community.

Appendix C : References

- The WWW Home Page for the MONARC Project
	http://www.cern.ch/MONARC/

- I. Foster and C. Kesselman, The GRID: Blueprint for a New Computing Infrastructure,
Morgan Kaufmann Publishers, San Francisco, 1998.

- The MONARC Progress Report, June 1999 
	http://www.cern.ch/MONARC/docs/progress_report/Welcome.html

- H. Newman, Distributed Computing and Regional Centres Session
	LCB Marseilles Workshop (1999) http://lcb99.in2p3.fr/HNewman/Slide1.html

- I. Legrand, MONARC Distributed System Simulation
	LCB Marseilles Workshop (1999) http://lcb99.in2p3.fr/ILegrand/Slide1.html

- MONARC Technical Notes: http://www.cern.ch/MONARC/docs/monarc_docs.html

- H. Newman, Worldwide Distributed Analysis for the Next Generations of HENP Experiments, CHEP2000, Padua, Italy (2000), (http://chep2000.pd.infn.it/, paper number 385).

- I. Legrand  Multi-threaded, discrete event simulation of distributed computing system,
CHEP2000, Padua, Italy (2000), (http://chep2000.pd.infn.it/, paper number 148).

- C. Vistoli et al., Distributed applications monitoring at system and network level,
CHEP2000, Padua, Italy (2000), (http://chep2000.pd.infn.it/, paper number 127).

- H. Sato et al., Evaluation of Objectivity/AMS on the Wide Area Network,
CHEP2000, Padua, Italy (2000), (http://chep2000.pd.infn.it/, paper number 235).

- Y. Morita et al., Validation of the MONARC Simulation Tools,
CHEP2000, Padua, Italy (2000), (http://chep2000.pd.infn.it/, paper number 113).

- I. Gaines et al., Modeling LHC Regional Computing Centers with the MONARC Simulation Tools, CHEP2000, Padua, Italy (2000), (http://chep2000.pd.infn.it/, paper number 169).

- The MONARC Project Execution Plan, September 1998 
http://www.cern.ch/MONARC/docs/pep.html

- MONARC simulation program 
http://www.cern.ch/MONARC/sim_tool/

- Objectivity: http://www.objy.com/
CERN Objectivity Page: http://wwwinfo.cern.ch/asd/lhc++/Objectivity/index.html

- MONARC simulation repository
http://www.cern.ch/MONARC/sim_tool/Publish/publish/

- B. R. Haverkort, Performance of Computer Communication Systems,
John Wiley & Sons Ltd.

- Y. Morita et al., MONARC testbed and a preliminary measurement on Objectivity AMS server, MONARC-99/7, http://www.cern.ch/MONARC/docs/monarc_docs/1999-07.ps.

- A. Brunengo et al., LAN and WAN tests with Objectivity 5.1
MONARC-99/6, http://www.cern.ch/MONARC/docs/monarc_docs/1999-06.pdf

- K. Holtman, CPU requirements for 100 MB/s writing with Objectivity
MONARC-98/2, http://www.cern.ch/MONARC/docs/monarc_docs/1998-02.html

- A. Dorokhov, Simulation simple models and comparison with queueing theory
MONARC-99/8, http://www.cern.ch/MONARC/docs/monarc_docs/1999-08.pdf

- V.O'Dell et al., Report on Computing Architectures of Existing Experiments
MONARC-99/2, http://www.cern.ch/MONARC/docs/monarc_docs/1999-02.html

- A report of survey of computing architectures of near future experiments will be published in Spring 2000 in the MONARC web page [6].

- Regional Centres for LHC Computing - Report of the MONARC Architecture Group
http://www.fnal.gov/projects/monarc/task2/rcarchitecture_sty_1.doc

- L. Robertson, Rough Sizing Estimates for a Computing Facility for a Large LHC Experiment
http://nicewww.cern.ch/~les/monarc/capacity_summary.html

- R. Mount, Data Analysis for SLAC Physics,
CHEP2000, Padua, Italy 2000,.(http://chep2000.pd.infn.it/, paper number 391).

- MONARC Regional Centre Representatives Meeting, 13th April 1999
http://www.cern.ch/MONARC/plenary/1999-04-13/Welcome.html
MONARC Regional Centre Representatives Meeting, 26th August 1999
http://www.cern.ch/MONARC/plenary/1999-08-26/Welcome.html
MONARC plenary meeting 10th December 1999
http://www.cern.ch/MONARC/plenary/1999-12-10/Welcome.html

- "First Analysis Process" to be simulated
http://www.bo.infn.it/monarc/ADWG/Meetings/15-01-99-Docu/Monarc-AD-WG-0199.html

- High Energy Physics Data Grid Initiative
http://nicewww.cern.ch/~les/grid/welcome.html

- Results of the First ALICE Mock Data Challenge
http://root.cern.ch/root/alimdc/alimd_0.htm

- ALICE Internal Note 99-46

- The Second ALICE Data Challenge
http://root.cern.ch/root/alimd100/md100_0.htm

- CMS Workshop on High-Level Trigger (HLT), 4 Nov 1999
http://cmsdoc.cern.ch/cms/TRIDAS/distribution/Meetings/TriDAS.workshops/99.11.04/Agenda.html

- Two Day Activities Model  (Model 1 in the repository [16])

- Daily Activities Model  (Model 3 in the repository [16])

# Footnotes

Chaired by J. Butler of Fermilab.

Chaired by P. Capiluppi  of INFN/Bologna.

Chaired by L. Luminari of INFN/Rome.

Chaired by K. Sliwa of Tufts; principal developer I. Legrand (Caltech).

Quality of Service: An option in the network router to assign higher priorities to the selected set of protocols.

Numbers in these figures are based on our current understanding of ATLAS and CMS requirements.  The requirements are still being studied, and these numbers will certainly change.

Object sizes are current estimates, and are subject of modifications by each experiment.  Study of CMS ORCA, for example, has recently shown that ESD is more likely close to 500 kBytes/event for CMS.

This appendix is extracted from the MONARC Phase 3 Letter of Intent, submitted to H. Hoffmann and M. Delfino January 15, 2000.

Details on the synergy between a MONARC Phase 3 and R&D projects such as the recently approved "Particle Physics Data Grid" (PPDG) project and the proposed “GriPhyN” (Grid Physics Network) project may be found at http://www.cern.ch/MONARC/docs/progress_report/longc7.html. Also see the PPDG and GriPhyN Websites at http://www.cacr.calech.edu/ppdg and http://www.phys.ufl.edu/~mre/.

One example, related to the CMS High Level Trigger studies, is described briefly below.

At CERN, in Italy, Japan, and the US.

This is the first release of mainstream OO software by an LHC experiment involving persistent objects, and qualified for initial use in support of trigger and physics performance studies.

A typical data-set for one of these studies, as discussed with CERN/IT, would be 106 events, requiring 1010 SI95-sec for production processing (simulation and reconstruction) and 1-to-several Terabytes of diskspace.

Examples include Italy, France, Japan and the US. In the latter two cases,  at least 10 Mbps of bandwidth is expected to be available for dedicated mission-oriented and distributed system development purposes, starting in the Spring of 2000.

# Text boxes

Regional Centre Farm

for( int k =0; k< jobs_per_group; k++) {

Job job = new Job( this, Job.ANALYSIS, "TAG”, 1, events_to_process);

farm.addJob(job );    //  submit the job

sim_hold ( 1000 );    //  wait 1000 s

}

Fig. 5-1  Main tasks of the analysis process and a data flow model.

Fig. 4-3  Work-flow at a Tier 1 Regional Centre

Fig. 4-1  Computing for an LHC Experiment Based on a Hierarchy of Computing Centers. Capacities for CPU and disk are representative and are provided to give an approximate scale).

Fig. 2-1  Modelling multitasking processing based on an “interrupt” scheme.

(c)

(b)

(a)

(c)

#### RMI Server

Write Objects

afs/nfs file system

#### Web Server

(b)

(a)

# Activity

## Job

# Activity

## Job

## Job

Fig. 2-2 Modelling Jobs submission into the system

Tapes

CERN

Local

institutes

Tier 2

Desktops

Individual

Analysis

AOD-->DPD

and plots

Chaotic

Physicists

Production

Analysis

ESD-->AOD

AOD-->DPD

Scheduled

Physics groups

Production

Reconstruction

Raw/Sim-->ESD

Scheduled,

predictable

experiment/

physics groups

Training

Consulting

Help Desk

Web Servers

Telepresence

Servers

Info servers

Code servers

R&D Systems

and Testbeds

Physics

Software

Development

Network

from Tier 2 and

simulation

centers

Network

from CERN

Tapes

Mass Storage & Disk

Servers

Database Servers

Data

Import

Data

Export

Fig. 4-4  Data flow at a Tier 1 Regional Centre

Huge amount of Data!

But negligible for Users

(if DB is out of Global Objy DB)

RCs (including CERN)

and/or Desktops

Input of

Data

Export

Data

Import

Tapes

CERN

Local

institutes

Tier 2

Desktops

Farms of low cost commodity computers,

limited I/O rate, modest local disk cache

-----------------------------------------------------

Reconstruction Jobs:

Reprocessing of raw data: 10**8 events/year (10%)

Initial processing of simulated data: 10**8/year

1000 SI95-sec/event ==> 10**4 SI95 capacity:

100 processing nodes of 100 SI95 power

Event Selection Jobs:

10 physics groups * 10**8 events (10%samples)

* 3 times/yr

based on ESD and latest AOD data

50 SI95/evt ==> 5000 SI95 power

Physics Object creation Jobs:

10 physics groups * 10**7 events (1% samples)

* 8 times/yr

based on selected event sample ESD data

200 SI95/event ==> 5000 SI95 power

Derived Physics data creation Jobs:

10 physics groups * 10**7 events * 20 times/yr

based on selected AOD samples, generates

“canonical” derived physics data

50 SI95/evt ==> 3000 SI95 power

Total 110 nodes of 100 SI95 power

Derived Physics data creation Jobs:

200 physicists * 10**7 events * 20 times/yr

based on selected AOD and DPD samples

20 SI95/evt ==> 30,000 SI95 power

Total 300 nodes of 100 SI95 power

Total Storage:

Robotic Mass Storage - 300TB

Raw Data: 50TB  5*10**7 events (5% of 1 year)

Raw (Simulated) Data: 100TB 10**8 events

ESD (Reconstructed Data): 100TB - 10**9 events (50% of 2 years)

AOD (Physics Object) Data: 20TB 2*10**9 events (100% of 2 years)

Tag Data: 2TB (all)

Calibration/Conditions database: 10TB

(only latest version of most data types kept here)

Central Disk Cache - 100TB (per user demand)

CPU Required for AMS database servers: ??*10**3 SI95 power

Data Output Rate to CERN:

AOD Data -                    8 TB/yr

Recalculated ESD -       10 TB/yr

Simulation ESD data -  10 TB/yr

Data Output to Tier 2:

Revised ESD and AOD - 15 TB/yr

Data Output to local institutes:

ESD, AOD, DPD data -    20TB/yr

Individual

Analysis

AOD-->DPD

and plots

Chaotic

Physicists

Production

Analysis

ESD-->AOD

AOD-->DPD

Scheduled

Physics groups

Production

Reconstruction

Raw/Sim-->ESD

Scheduled,

predictable

experiment/

physics groups

Network

from Tier 2 and

simulation

centers

Network

from CERN

Data Input Rate from CERN:

Raw Data - 5%       50TB/yr

ESD Data - 50%     50TB/yr

AOD Data - All      10TB/yr

Revised ESD -        20TB/yr

Data Input from Tier 2:

Revised ESD and AOD - 10TB/yr

Data Input from Simulation Centers:

Raw Data - 100TB/yr

Data

Export

Data

Import

Tapes

CERN

Local

institutes

Tier 2

Desktops

Individual

Analysis

AOD-->DPD

and plots

Chaotic

Physicists

Production

Analysis

ESD-->AOD

AOD-->DPD

Scheduled

Physics groups

Production

Reconstruction

Raw/Sim-->ESD

Scheduled,

predictable

experiment/

physics groups

Network

from Tier 2 and

simulation

centers

Network

from CERN

Tapes

Mass Storage & Disk

Servers

Database Servers

Tapes

Mass Storage & Disk

Servers

Database Servers

Data for

possible

pass1

& pass2

20 TB/Year x 2 using TAG

2 TB/Year x 2 using TAG

Data

best

case

0.2 TB/Year x 2

using TAG

RCs (including CERN)

Input of

ATLAS

CMS

1.1 PB/Year +

100 GB/Year

or

0.1 PB/Year +

100 GB/Year

Off-Line Farm

(and "other" resources for Simulation)

Input of

1 PB/Year +

0.001 PB/Year? +

~ 0.5 PB/Year?

Analysis Object Data

Reconstruction

Analysis

Local DB

and/or

Histograms

AOD (2 steps) Data

Tag Data

Selection

ESD/Reconstructed Object

Data

Simulation Data

Raw Data

Fig. 3-1 Comparison of the measurements vs simulation

Slow control

Calibration data

Trigger Tag