Vc/31-May-04

### Week32 starting 31 May 04

### SM18 Operation Meeting (Tuesdays)

Bench status  on Monday 31/5 ( ROCLA problems:

| Bench | Name | Situation Mon 31/5 lunchtime | Temp |
| --- | --- | --- | --- |
| TBA1 | MBAR3061 | ICS 6 Disconnect Magnet WP07 | 300 K |
| TBA2 | MBAL3161 | New Arrival Monday Aft | 300 K |
| TBB1 | MBBL1104 | ICS 5 Traveller Last | 300 K |
| TBB2 | MBAL2069 | PT 12 Warm Up | Warming |
| TBC1 | MBAL3139 | PT 6.3 Training 3 | 1.9 K |
| TBC2 | SSS21 | MM 4 Stretched Wire/Standby | 1.9 K |
| TBD1 | SSS11 | Stand By | 300 K |
| TBD2 | _ | EMPTY |  |
| TBE1 | MBAL3157 | Prep 0 Scan Bench | 300 K |
| TBE2 | MBBR1033 | PT 12 Warm Up | Warming |
| TBF1 | MBBL2068 | Prep 5 Pumping + Cool Down | Cooling |
| TBF2 | MBBL3163 | ICS 5 Traveller Last |  |

1 ROCLA was  in limited use. On sat 29th & Sun 30th May partial usage.  Monday 31st holiday – ROCLA not available as I was told but later I did see ROCLA on Monday +   limited ICS connect/disconnect support

Bench status  and tests for now ( Monday 31/5 evening)  & next few days :

Test Information

| Magnets under Test on 31-05 7:16:31 PM |
| --- |
| - | Bench | Magnet | Shafts | Start | Connect Time | Cooling Time | Cold Test Time | Warming Time | Disconnect Time | Last Test Desc | Time | I | Temp. | Total |
| 1 | TBA1 | MBAR3061 |  | 14-05 | 146 h. | 108 h. | 82 h. | 19 h. | 0 h. | ICS 6 Disconnect Magnet WP07 | 28-05 (19 : 54) | 0 A. | 300 K | 427 hours |
| 2 | TBA2 | MBAL3161 |  | 31-05 | 7 h. | - | - | - | - | Prep 0 Scan Bench | 31-05 (14 : 29) | 0 A. | 300 K | 7 hours |
| 3 | TBB1 | MBBL1104 |  | 17-05 | 26 h. | 35 h. | 282 h. | - | - | ICS 5 Traveller Last | 29-05 (19 : 53) | 0 A. | 300 K | 343 hours |
| 4 | TBB2 | MBAL2069 |  | 27-05 | 49 h. | 8 h. | 31 h. | 12 h. | 1 h. | ICS 5 Traveller Last | 31-05 (13 : 30) | 0 A. | 300 K | 107 hours |
| 5 | TBC1 | MBAL3139 |  | 27-05 | 46 h. | 29 h. | 24 h. | 5 h. | - | PT 12 Warm Up | 31-05 (14 : 40) | 0 A. | Warming | 104 hours |
| 6 | TBC2 | SSS21 |  | 13-05 | 14 h. | 82 h. | 345 h. | - | - | MM 4 Stretched Wire | 28-05 (13 : 47) | 550 A. | 1.9 K | 441 hours |
| 7 | TBD1 | SSS11 |  | 27-05 | 107 h. | - | - | - | - | Stand By | 29-05 (17 : 39) | 0 A. | 300 K | 107 hours |
| 8 | TBE1 | MBAL3157 |  | 29-05 | 50 h. | - | - | - | - | Prep 2.2 IAP @ warm LF | 31-05 (18 : 51) | 0 A. | 300 K | 50 hours |
| 9 | TBE2 | MBBR1033 |  | 27-05 | 42 h. | 18 h. | 23 h. | 14 h. | 1 h. | ICS 5 Traveller Last | 31-05 (17 : 20) | 0 A. | 300 K | 100 hours |
| 10 | TBF1 | MBBL2068 |  | 29-05 | 31 h. | 24 h. | - | - | - | CR 1 Leak Test | 30-05 (19 : 58) | 2 A. | Cooling | 55 hours |
| 11 | TBF2 | MBBL3163 |  | 26-05 | 123 h. | - | - | - | - | ICS 5 Traveller Last | 30-05 (19 : 49) | 0 A. | 300 K | 123 hours |

Quench Information

| - | Magnet | Q1 | Q2 | Q3 | Q4 | Q5 | Q6 | Q7 | Q8 | Q9 | Q10 | Q11 | Q12 | Q13 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | MBAR3061 | 12231 Amp. (D1_U) | 12850 Amp. () | - | - | - | - | - | - | - | - | - | - | - |
| 2 | MBAL3161 |  | - | - | - | - | - | - | - | - | - | - | - | - |
| 3 | MBBL1104 | 11786 Amp. (D1-L) | 12351 Amp. (D1-L) | 12720 Amp. (D1_L_S13) | 12315 Amp. (D1-U-S13) | 12472 Amp. (D1-U-S01) | 12642 Amp. (D1-L-S13) | 12817 Amp. (D1-U-S02) | 12850 Amp. (No Data) | 12850 Amp. (No Data) |  | - | - | - |
| 4 | MBAL2069 | 11790 Amp. (D2, L, S) | 12357 Amp. (D2_L) | 12164 Amp. (D2-L-S03) | 12211 Amp. (D2-L-S13) | 12303 Amp. (D2-L-S13) | 12481 Amp. (D2_S13) |  | - | - | - | - | - | - |
| 5 | MBAL3139 | 9541 Amp. (D1_L) | 12042 Amp. (D1-L) | 12368 Amp. (D1 L) |  | - | - | - | - | - | - | - | - | - |
| 6 | SSS21 | 12003 Amp. (QE-34) | 12105 Amp. (QE-12) | 12458 Amp. (No Data) |  | - | - | - | - | - | - | - | - | - |
| 7 | SSS11 |  | - | - | - | - | - | - | - | - | - | - | - | - |
| 8 | MBAL3157 |  | - | - | - | - | - | - | - | - | - | - | - | - |
| 9 | MBBR1033 | 12526 Amp. (D1-U) | 0 Amp. (D2-U) | 12850 Amp. () | - | - | - | - | - | - | - | - | - | - |
| 10 | MBBL2068 |  | - | - | - | - | - | - | - | - | - | - | - | - |
| 11 | MBBL3163 | 10107 Amp. (D2-L) | 12026 Amp. (D1-U) | 12419 Amp. (D1-U) |  | - | - | - | - | - | - | - | - | - |

Test Coordinator this week: Nikolay  ; MTM support on call :  (16-3602).

6 Dipoles  Disconnected after tests last week    ( Sat Midnight to Sat midnight)

| Magnets under Test from 23-05-2004 to 29-05-2004 |
| --- |
| - | Bench | Magnet | Shafts | Start Date . | Connect Time | Cooling Time | Cold Test Time | Warming Time | Disconnect Time | End Date | Total |  |  |
| 1 | TBB2 | MBAL1071 |  | 11-05-2004 | 52 h. | 55 h. | 23 h. | 13 h. | 21 h. | 26-05-2004 | 360 hours |  |  |
| 2 | TBC1 | MBBL1116 |  | 17-05-2004 | 59 h. | 42 h. | 49 h. | 23 h. | 18 h. | 27-05-2004 | 240 hours |  |  |
| 3 | TBD1 | MBBL2076 |  | 13-05-2004 | 14 h. | 58 h. | 42 h. | 17 h. | 31 h. | 26-05-2004 | 312 hours |  |  |
| 4 | TBE1 | MBBL1112 |  | 12-05-2004 | 142 h. | 0 h. | 21 h. | 13 h. | 4 h. | 29-05-2004 | 408 hours |  |  |
| 5 | TBE2 | MBBL1113 |  | 11-05-2004 | 51 h. | 38 h. | 58 h. | 16 h. | 35 h. | 27-05-2004 | 384 hours |  |  |
| 6 | TBF1 | MBBL3151 |  | 17-05-2004 | 49 h. | 31 h. | 38 h. | 16 h. | 40 h. | 29-05-2004 | 288 hours |  |  |
| 7 | TBF2 | MBAL3160 |  | 11-05-2004 | 46 h. | 79 h. | 46 h. | 15 h. | 11 h. | 26-05-2004 | 360 hours |  |  |

### Quench Information

| - | Magnet | Q1 | Q2 | Q3 | Q4 | Q5 | Q6 | Q7 | Q8 | Q9 | Q10 | Q11 | Q12 | Q13 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | MBAL1071 | 12509 A. (D2-L) | 12764 A. (D1_L) |  | - | - | - | - | - | - | - | - | - | - |
| 2 | MBBL1116 | 12043 A. (D1-L) | 12141 A. (D1_L) | 12500 A. (D1_L) | 12643 A. (D1-L) | 12848 A. (D2-L) | 12850 A. | - | - | - | - | - | - | - |
| 3 | MBBL2076 | 11440 A. (D1_U) | 11951 A. (D1 L) | 12495 A. (D1-L) | 12690 A. (D1-L) | 12812 A. (D1-L) | 12850 A. | - | - | - | - | - | - | - |
| 4 | MBBL1112 | 11808 A. (D2-U) | 12113 A. (D1-L) |  | - | - | - | - | - | - | - | - | - | - |
| 5 | MBBL1113 | 11483 A. (D2-L) | 11848 A. (D2-L) | 0 A. (No Data) | 12288 A. (D1_U) | 12619 A. (D2_L) | 12756 A. (D1-L) | 12821 A. (D2-U) | 12850 A. | - | - | - | - | - |
| 6 | MBBL3151 | 11485 A. (D2-U) | 12850 A. | - | - | - | - | - | - | - | - | - | - | - |
| 7 | MBAL3160 | 10910 A. (D1-U) | 12568 A. (No Data) | 12834 A. (D1-U) |  | - | - | - | - | - | - | - | - | - |

- Situation From Cryogenics:  J-P Lamboy or ACR Rep.

WHY was 1033 coming again on E2  ???  tested in Feb; Perf OK ??!!

- D1 & D2  preparation mechanically for SSS

- SHADOW ACTIVITIES DUE TO ROCLA Problems

  - Install Rotary Switch in E Cluster ( 5 days work asked) was  DONE

  - Repair Water leak in F cluster Power Coverter ( 3 days asked) NOT DONE

  - Calib B Cluster Power Supply in cold condition  : needs to be done once

  - Calib A     “           “            “      “     “        “               “        “          “       “

- SSS work :    AB-OP CERN Staff  daily(almost)  in new Rota

- General Problems last week :

| Date | Bench | Problem | Type | Application/soft | Action/advise |
| --- | --- | --- | --- | --- | --- |
| Tuesday 25_N | TBA1 | Diode test (mini NRJ at 3 kA) on 3061: Alert on QH info + Iearth = 10 mA. | MTM | AQA |  |
| Wednesday _26_N | TBB1 | Quench happened during the SPA on 1104: File created with extension mg01 | MTM |  |  |
| Wednesday _26_N | TBA1 | SSL at 4.5 K. After quench TEMA blocked. On END in the window | AB-CO | TEMA, POWER | TEMA relaunched. |
| Thursday _27_N | TBE2 | IAP at warm. HF get armed and generated trigger, LF OK | AB-CO | HF | Config file downloaded. MXI MOVE error , MXI COMMUNICATION error in the slots. |
| Thursday _27_N | TBE2 | IAP at warm : test of QH The file name in the graph did not correspond to the file name. | AB-CO | IAP | Richard informed Boris. Bug corrected |
| Saturday_29_A | TBB2 | Cryo problems: During HV test , cryo HV test is lost 2 times and magnet is warming up. | ACR |  |  |
| Saturday_29_N | TBE2 | IAP @cold on 1033. Not possible to launch the application. | MTM | IAP | Maryline advised to quit all applications, stop the driver server and switch off /on the PLCSE. |
| Sunday_30_M | TBE2 | Cryo problem: Magnet blocked at 4.5 K. Problem in the process : One valve is opening and closing always. | ACR |  |  |
| Sunday_30_M | TBB2 | Quench antenna signals were not as expected. Possible inversion between apertures? | MTM | HF | Maryline came and solved the problem. The HF config files were changed because of the special shafts. |
| Sunday_30_A | TBE2 | Ramp to 9 T : Slow Power Abort at 12500 A. No fault detected on PLCSE. | MTM |  |  |