### Week 7 starting 13 Feb 06

### SM18 Operation Meeting (Tuesdays) 13 Feb 06

Bench status  on Monday  13-02- 2006 at: 2/13/2006 12:46:57 PM

| 9 | A1 | MBAL1095 | Prep 0 Scan Bench | 298.04 |
| --- | --- | --- | --- | --- |
| 10 | A2 | MBBL1185 | Prep 5 Cool Down | 90.83 |
| 8 | B1 | SSS214 | ICS 2 Connect Magnet (ICS) | 298.04 |
| 3 | B2 | SSS146 | PT 13.2 Resist. Meas. | 294.64 |
| 12 | C1 | SSS063 | ICS 4 Final connection | 296.7 |
| 6 | C2 | SSS164 | PT 9 CDAP HV | 1.89 |
| 5 | D1 | SSS608 | PT 11 4 K Quench SSL | 2.35 |
| 1 | D2 | SSS507 | Prep 5 Cool Down | 164.3 |
| 11 | E1 | MBBR2258 | ICS 1 WP04 HV Test Warm | 299.47 |
| 4 | E2 | MBBL1100 | PT 7 Magnet Trained | 1.90 |
| 2 | F1 | MBBL1183 | PT 12 Warm Up | 7.24 |
| 7 | F2 | MBAL1076 | ICS 2 Connect Magnet (ICS) | 297.15 |

Tempr. from TBSM18 site

Coordinator:John Miles ;  : Eq support : 16-3602 :Guy

12 Magnet Tests completed :  6 Dipoles, 5 Arc-SSS, 1 Sp-SSS

General Points :

- Situation from Cryogenics:  J-P Lamboy or ACR Rep.

- Situation from (SSS, SSSS)  :  J.Halik

- Traveller Signing for SSS ( & Dipoles)

- Special SSSS :

(a) Work,    (b)  information,    (c)  e-log,      (d)   Info MM

A.O.B.

## Tests

| Magnets under Test from 05-02-2006 to 11-02-2006 |
| --- |
| - | Bench | Magnet | Shafts | + | Start Date | Connect Time | Cooling Time | Cold Test Time | Warming Time | Disconnect Time | End Date | Total | Signed for |  |  |
| 1 | TBA1 | MBAL1065 |  |  | 30-01-2006 | 48 h. | 99 h. | 27 h. | 20 h. | 7 h. | 07-02-2006 | 201 h. | Stripping |  |  |
| 2 | TBA2 | MBAL1081 |  |  | 06-02-2006 | 24 h. | 24 h. | 40 h. | 19 h. | 9 h. | 11-02-2006 | 116 h. | Stripping |  |  |
| 3 | TBA2 | MBAL2087 |  |  | 30-01-2006 | 48 h. | 60 h. | 40 h. | 21 h. | 8 h. | 06-02-2006 | 177 h. | Stripping |  |  |
| 4 | TBB1 | SSS078 |  |  | 31-01-2006 | 47 h. | 71 h. | 42 h. | 10 h. | 7 h. | 07-02-2006 | 177 h. | Stripping |  |  |
| 5 | TBB2 | SSS081 |  |  | 02-02-2006 | 47 h. | 23 h. | - | - | - | 09-02-2006 | 162 h. | Stripping |  |  |
| 6 | TBC1 | SSS082 |  |  | 01-02-2006 | 100 h. | 13 h. | 26 h. | 6 h. | 18 h. | 08-02-2006 | 163 h. | Stripping |  |  |
| 7 | TBC2 | SSS029 |  |  | 01-02-2006 | 20 h. | 52 h. | 28 h. | 8 h. | 11 h. | 06-02-2006 | 119 h. | Stripping |  |  |
| 8 | TBC2 | SSS348 |  |  | 06-02-2006 | 38 h. | 18 h. | 19 h. | 7 h. | 10 h. | 10-02-2006 | 92 h. | Stripping |  |  |
| 9 | TBD2 | SSS619 |  |  | 30-01-2006 | 81 h. | 40 h. | 99 h. | 15 h. | 27 h. | 10-02-2006 | 262 h. | Stripping |  |  |
| 10 | TBE1 | MBAL1176 |  |  | 03-02-2006 | 42 h. | 70 h. | 39 h. | 20 h. | 19 h. | 11-02-2006 | 190 h. | Stripping |  |  |
| 11 | TBE2 | MBAL1083 |  |  | 31-01-2006 | 32 h. | 84 h. | 63 h. | 20 h. | 10 h. | 09-02-2006 | 209 h. | Stripping |  |  |
| 12 | TBF1 | MBBL2070 |  |  | 30-01-2006 | 54 h. | 32 h. | 36 h. | 23 h. | 21 h. | 06-02-2006 | 166 h. | Stripping |  |  |

| - | Magnet | Q1 | Q2 | Q3 | Q4 | Q5 | Q6 | Q7 | Q8 | Q9 | Q10 | Q11 | Q12 | Q13 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | MBAL1065 | 12584.2 A. (D1_L) | 12850 A. | - | - | - | - | - | - | - | - | - | - | - |
| 2 | MBAL1081 | 10977 A. (D2_U) | 11356 A. (D2_U) | 11777 A. (D2_U) | 12106.9 A. (D2_U) | 12393 A. (D2-U) | 12669.6 A. (D2-U) | 12760.2 A. (D1_U) | 12818.8 A. (D2-L) | 12850 A. | - | - | - | - |
| 3 | MBAL2087 | 11490.2 A. (D2-L) | 12683 A. (D2_U) | 12850 A. | - | - | - | - | - | - | - | - | - | - |
| 4 | SSS078 | 9902 A. (Vbus Int) | 9814 A. (Vbus Int) | 11998 A. (QI-34) | 12463.1 A. (QE-34) | 12633.9 A. (QE_12) |  | - | - | - | - | - | - | - |
| 5 | SSS081 | 12019.4 A. (QI_34) | 12252 A. (QI-12) | 12142 A. (QI-12) |  | - | - | - | - | - | - | - | - | - |
| 6 | SSS082 | 12314 A. (QI_34) | 12500.4 A. (QE_34) | 12782.6 A. (QE-12) |  | - | - | - | - | - | - | - | - | - |
| 7 | SSS029 | 12348 A. (QE-12) | 12711.6 A. (QE-12) | 12800 A. (QI-34) |  | - | - | - | - | - | - | - | - | - |
| 8 | SSS348 | 12514.8 A. (QE_34) | 12728.1 A. (QE_12) | 12811.1 A. (QI-12) |  | - | - | - | - | - | - | - | - | - |
| 9 | SSS619 | 4202 A. (No Data) | 4354 A. (No Data) | 4576 A. (I-?) | 4650 A. | - | - | - | - | - | - | - | - | - |
| 10 | MBAL1176 | 11610.5 A. (D1_L) | 12163 A. (D1-L) | 12401.9 A. (D1-L) |  | - | - | - | - | - | - | - | - | - |
| 11 | MBAL1083 | 12311.8 A. (D2_U) | 12718.8 A. (D2-U) | 12850 A. (No Data) |  | - | - | - | - | - | - | - | - | - |
| 12 | MBBL2070 | 10387 A. (D2-U) | 11697.7 A. (D1_L) | 11882.6 A. (D1_L) | 12301.7 A. (D1_U) | 12752.8 A. (D1_L) | 12850 A. | - | - | - | - | - | - | - |